Mitochondrial respiratory states and rates:

Building blocks of mitochondrial physiology

Part 1. MitoEAGLE preprint 2018-03-19(34)

MitoEAGLE Network

Corresponding author: Gnaiger E

Co-authors:

Aasander Frostner E, Abumrad NA, Acuna-Castroviejo D, Ahn B, Alves MG, Amati F, Aral C, Arandarčikaitė O, Bailey DM, Bajpeyi S, Bakker BM, Bastos Sant'Anna Silva AC, Battino M, Beard DA, Bednarczyk P, Ben-Shachar D, Bernardi P, Bishop D, Blier PU, Boetker HE, Boros M, Borsheim E, Borutaitė V, Bouillaud F, Bouitbir J, Breton S, Brown GC, Brown RA, Buettner GR, Burtscher J, Calabria E, Calbet JA, Calzia E, Cannon DT, Canto AC, Cardoso LHD, Carvalho E, Casado Pinna M, Cavalcanti-de-Albuquerque JP, Cervinkova Z, Chang SC, Chaurasia B, Chen Q, Chicco AJ, Chinopoulos C, Clementi E, Coen PM, Coker RH, Collin A, Crisóstomo L, Das AM, Davis MS, De Palma C, Dembinska-Kiec A, Dias TR, Distefano G, Doerrier C, Drahota Z, Dubouchaud H, Duchen MR, Durham WJ, Dyrstad SE, Dzialowski EM, Ehinger J, Elmer E, Endlicher R, Engin AB, Fell DA, Ferko M, Ferreira JCB, Ferreira R, Fessel JP, Filipovska A, Fisar Z, Fischer M, Fisher JJ, Fornaro M, Galkin A, Gan Z, Garcia-Roves PM, Garcia-Souza LF, Garlid KD, Garten A, Gastaldelli A, Genova ML, Giovarelli M, Gonzalez-Armenta JL, Gonzalo H, Goodpaster BH, Gorr TA, Gourlay CW, Granata C, Grefte S, Haas CB, Haavik J, Haendeler J, Han J, Hancock CR, Hand SC, Harrison DK, Hellgren KT, Hepple RT, Hernansanz-Agustin P, Hickey AJ, Hoel F, Holland OJ, Holloway GP, Hoppel CL, Houstek J, Hunger M, Iglesias-Gonzalez J, Irving BA, Iyer S, Jackson CB, Jadiya P, Jang DH, Jang YC, Jansen-Dürr P, Jespersen NR, Jha RK, Jurk D, Kaambre T, Kainulainen H, Kane DA, Kappler L, Karabatsiakis A, Keijer J, Keppner G, Khamoui AV, Klingenspor M, Komlodi T, Koopman WJH, Kopitar-Jerala N, Kowaltowski AJ, Krajcova A, Krako Jakovljevic N, Kuang J, Kucera O, Kwak HB, Kwast K, Labieniec-Watala M, Lai N, Land JM, Lane N, Laner V, Larsen TS, Lee HK, Leeuwenburgh C, Lemieux H, Lerfall J, Li PA, Liu J, Lucchinetti E, Macedo MP, MacMillan-Crow LA, Makrecka-Kuka M, Malik A, Markova M, Mazat JP, Menze MA, Meszaros AT, Methner A, Michalak S, Moisoi N, Molina AJA, Montaigne D, Moreau K, Moore AL, Moreira BP, Mracek T, Muntane J, Muntean DM, Murray AJ, Nemec M, Neufer PD, Neuzil J, Newsom S, Nozickova K, O'Gorman D, Oliveira MF, Oliveira MT, Oliveira PF, Oliveira PJ, Orynbayeva Z, Osiewacz HD, Pak YK, Pallotta ML, Palmeira CM, Parajuli N, Passos JF, Patel HH, Pecina P, Pelnena D, Pereira da Silva Grilo da Silva F, Pesta D, Petit PX, Pettersen IKN, Pichaud N, Piel S, Pietka TA, Pino MF, Pirkmajer S, Porter C, Porter RK, Pranger F, Prochownik EV, Pulinilkunnil T, Puurand M, Radenkovic F, Radi R, Ramzan R, Rattan S, Reboredo P, Renner-Sattler K, Robinson MM, Roden M, Rohlena J, Rolo AP, Ropelle ER, Røsland GV, Rossiter HB, Rybacka-Mossakowska J, Saada A, Safaei Z, Salin K, Salvadego D, Sandi C, Sazanov LA, Scatena R, Schartner M, Scheibye-Knudsen M, Schilling JM, Schlattner U, Schönfeld P, Schwarzer C, Scott GR, Shabalina IG, Sharma P, Sharma V, Shevchuk I, Siewiera K, Silber AM, Silva AM, Singer D, Skolik R, Smenes BT, Smith J, Soares FAA, Sobotka O, Sokolova I, Sonkar VK, Sparks LM, Spinazzi M, Stankova P, Stary C, Stier A, Stocker R, Sumbalova Z, Suravajhala P, Swerdlow RH, Swiniuch D, Tanaka M, Tandler B, Tavernarakis N, Tepp K, Thyfault JP, Tomar D, Towheed A, Tretter L, Trifunovic A, Trivigno C, Tronstad KJ, Trougakos IP, Tyrrell DJ, Urban T, Valentine JM, Velika B, Vendelin M, Vercesi AE, Victor VM, Vieyra A Villena JA, Vitorino RMP, Vogt S, Volani C, Votion DM, Vujacic-Mirski K, Wagner BA, Ward ML, Wasserman DH, Watala C, Wei YH, Wieckowski MR, Williams C, Wohlwend M, Wolff J, Wüst RCI, Yokota T, Zaugg K, Zaugg M, Zischka H, Zorzano A

Updates and discussion:

http://www.mitoeagle.org/index.php/MitoEAGLE_preprint_2018-02-08

Correspondence: Gnaiger E

Chair COST Action CA15203 MitoEAGLE – http://www.mitoeagle.org

Department of Visceral, Transplant and Thoracic Surgery, D. Swarovski Research Laboratory, Medical University of Innsbruck, Innrain 66/4, A-6020 Innsbruck, Austria

Email: mitoeagle@i-med.ac.at

Tel: +43 512 566796, Fax: +43 512 566796 20

Contents

Abstract

Executive summary

1.	Introduction – Box 1: In brief: Mitochondria and Bioblasts

2. 	Oxidative phosphorylation and coupling states in mitochondrial preparations

Mitochondrial preparations

2.1. Respiratory control and coupling

The steady-state

Specification of biochemical dose

Phosphorylation, P», and P»/O2 ratio

Control and regulation

Respiratory control and response

Respiratory coupling control and ET-pathway control

Coupling

Uncoupling

2.2. Coupling states and respiratory rates

Respiratory capacities in coupling control states

LEAK, OXPHOS, ET, ROX

Quantitative relations

2.3. Classical terminology for isolated mitochondria

States 1–5

3. 	Normalization: fluxes and flows

3.1. Normalization: system or sample

Flow per system, I

Extensive quantities

Size-specific quantities  – Box 2: Metabolic fluxes and flows: vectorial and scalar

3.2. Normalization for system-size: flux per chamber volume

System-specific flux, JV,O2

3.3. Normalization: per sample

Sample concentration, CmX

Mass-specific flux, JO2/mX

Number concentration, CNX

Flow per object, IO2/X

3.4. Normalization for mitochondrial content

Mitochondrial concentration, CmtE, and mitochondrial markers

Mitochondria-specific flux, JO2/mtE

3.5. Evaluation of mitochondrial markers

3.6. Conversion: units

4. 	Conclusions

5. 	References

Abstract  As the knowledge base and importance of mitochondrial physiology to human health expands, the necessity for harmonizing nomenclature concerning mitochondrial respiratory states and rates has become increasingly apparent. Clarity of concept and consistency of nomenclature are key trademarks of a research field. These features facilitate effective transdisciplinary communication, education, and ultimately further discovery. The chemiosmotic theory establishes the mechanism of energy transformation and coupling in oxidative phosphorylation. The unifying concept of the protonmotive force provides the framework for developing a consistent theoretical foundation of mitochondrial physiology and bioenergetics. We follow IUPAC guidelines on terminology in physical chemistry, extended by considerations on open systems and irreversible thermodynamics. The concept-driven constructive terminology incorporates the meaning of each quantity and aligns concepts and symbols to the nomenclature of classical bioenergetics. In the frame of COST Action MitoEAGLE open to global bottom-up input, we endeavour to provide a balanced view on mitochondrial respiratory control and a critical discussion on reporting data of mitochondrial respiration in terms of metabolic flows and fluxes. Uniform standards for evaluation of respiratory states and rates will ultimately support the development of databases of mitochondrial respiratory function in species, tissues, and cells.

Keywords: Mitochondrial respiratory control, coupling control, mitochondrial preparations, protonmotive force, uncoupling, oxidative phosphorylation, OXPHOS, efficiency, electron transfer, ET; proton leak, LEAK, residual oxygen consumption, ROX, State 2, State 3, State 4, normalization, flow, flux, O2

Executive summary

- In view of the broad implications for health care, mitochondrial researchers face an increasing responsibility to disseminate their fundamental knowledge and novel discoveries to a wide range of stakeholders and scientists beyond the group of specialists. This requires implementation of a commonly accepted terminology within the discipline and standardization in the translational context. Authors, reviewers, journal editors, and lecturers are challenged to collaborate with the aim to harmonize the nomenclature in the growing field of mitochondrial physiology and bioenergetics.

- Aerobic respiration depends on the coupling of phosphorylation (ADP → ATP) to O2 flux in catabolic reactions. Coupling in oxidative phosphorylation is mediated by translocation of protons across the inner mitochondrial membrane through proton pumps generating or utilizing the protonmotive force, measured between the mitochondrial matrix and intermembrane compartment. Compartmental coupling distinguishes vectorial oxidative phosphorylation from glycolytic fermentation as the counterpart of cellular core energy metabolism (Figure 1).

- To exclude fermentation and other cytosolic interactions from exerting an effect on the analysis of mitochondrial metabolism, the barrier function of the plasma membrane must be disrupted. Selective removal or permeabilization of the plasma membrane yields mitochondrial preparations—including isolated mitochondria, tissue and cellular preparations—with structural and functional integrity. Then extra-mitochondrial concentrations of fuel substrates, ADP, ATP, inorganic phosphate, and cations including H+ can be controlled to determine mitochondrial function under a set of conditions defined as coupling control states. A concept-driven terminology of bioenergetics explicitly incorporates in its terms and symbols information on the nature of respiratory states that makes the technical terms readily recognized and more easy to understand.

Figure 1. Mitochondrial respiration is the oxidation of fuel substrates and reduction of O2 catalysed by the electron transfer system, ETS: (a) catabolic respiration (including non-mitochondrial oxidation reactions, b), and oxygen balance of internal (c) and external (d) respiration

All chemical reactions, r, that consume O2 in the cells of an organism, contribute to cell respiration, JrO2.  Non-mitochondrial O2 consumption by catabolic reactions, particularly peroxisomal oxidases;  mitochondrial residual oxygen consumption, Rox, after blocking the ETS;  non-mitochondrial Rox;  extracellular O2 consumption;  aerobic microbial respiration. Bars are not at a quantitative scale.

a	Mitochondrial catabolic respiration, JkO2, is the O2 consumption by the mitochondrial ETS maintaining the protonmotive force, ∆p. JkO2 excludes Rox.

b	Catabolic respiration is the O2 consumption associated with catabolic pathways in the cell, including peroxisomal oxidation reactions () in addition to mitochondrial catabolism (* The reactions k have to be defined specifically for a and b.)

c	Aerobic cell respiration, JrO2, takes into account internal O2-consuming reactions, r, including catabolic respiration and Rox. Internal respiration of an organism includes extracellular O2 consumption () and aerobic respiration by the microbiome (). Respiration is distinguished from fermentation by: (1) External electron acceptors for the maintenance of redox balance, whereas fermentation is characterized by an internal electron acceptor produced in intermediary metabolism. In aerobic cell respiration, redox balance is maintained by O2 as the electron acceptor. (2) Compartmental coupling in vectorial oxidative phosphorylation, in contrast to exclusively scalar substrate-level phosphorylation in fermentation.

d	External respiration balances internal respiration at steady-state. O2 is transported from the environment across the respiratory cascade (circulation between tissues and diffusion across cell membranes) to the intracellular compartment, while bicarbonate and CO2 are transported in reverse to the extracellular mileu and the organismic environment. Hemoglobin provides the molecular paradigm for the combination of O2 and CO2 exchange, as do lungs and gills on the morphological level. The respiratory quotient, RQ, is the molar CO2/O2 exchange ratio; when combined with the respiratory nitrogen quotient, N/O2 (mol N given off per mol O2 consumed), the RQ reflects the proportion of carbohydrate, lipd and protein utilized in cell respiration during aerobically balanced steady-states.

4.	Mitochondrial coupling states are defined according to the control of respiratory oxygen flux by the protonmotive force. Capacities of oxidative phosphorylation and electron transfer are measured at kinetically saturating concentrations of fuel substrates, ADP and inorganic phosphate, or at optimal uncoupler concentrations, respectively. Respiratory capacity is a measure of the upper bound of the rate of respiration, depends on the substrate type undergoing oxidation, and provides reference values for the diagnosis of health and disease, and for evaluation of the effects of Evolutionary background, Age, Gender and sex, Lifestyle and Environment (EAGLE).

5.	Incomplete tightness of coupling, i.e., some degree of uncoupling relative to the substrate-dependent coupling stoichiometry, is a characteristic of energy-transformations across membranes. Uncoupling is caused by a variety of physiological, pathological, toxicological, pharmacological and environmental conditions that exert an influence not only on the proton leak and cation cycling, but also on proton slip within the proton pumps and the structural integrity of the mitochondria. A more loosely coupled state is induced by stimulation of mitochondrial superoxide formation and the bypass of proton pumps. In addition, uncoupling by application of protonophores represents an experimental intervention for the transition from a well-coupled to the noncoupled state of mitochondrial respiration.

6.	Respiratory oxygen consumption rates have to be carefully normalized to enable meta-analytic studies beyond the specific question of a particular experiment. Therefore, all raw data should be published in a supplemental table or open access data repository. Normalization of rates for the volume of the experimental chamber (the measuring system) is distinguished from normalization for: (1) the volume or mass of the experimental sample; (2) the number of objects (cells, organisms); and (3) the concentration of mitochondrial markers in the chamber.

7.	The consistent use of terms and symbols will facilitate transdisciplinary communication and support further developments of a database on bioenergetics and mitochondrial physiology. The present considerations are focused on studies with mitochondrial preparations. These will be extended in a series of reports on pathway control of mitochondrial respiration, the protonmotive force, respiratory states in intact cells, and harmonization of experimental procedures.

Box 1: In brief – Mitochondria and Bioblasts

‘For the physiologist, mitochondria afforded the first opportunity for an experimental approach to structure-function relationships, in particular those involved in active transport, vectorial metabolism, and metabolic control mechanisms on a subcellular level’ (Ernster and Schatz 1981).

Mitochondria are the oxygen-consuming electrochemical generators evolved from endosymbiotic bacteria (Margulis 1970; Lane 2005). They were described by Richard Altmann (1894) as ‘bioblasts’, which include not only the mitochondria as presently defined, but also symbiotic and free-living bacteria. The word ‘mitochondria’ (Greek mitos: thread; chondros: granule) was introduced by Carl Benda (1898).

Mitochondria are dynamic networks contained within eukaryotic cells morphologically characterized by a double membrane. The mitochondrial inner membrane (mtIM) shows dynamic tubular to disk-shaped cristae that separate the mitochondrial matrix, i.e., the negatively charged internal mitochondrial compartment, from the intermembrane space; the latter being positively charged and enclosed by the mitochondrial outer membrane (mtOM). The mtIM contains the non-bilayer phospholipid cardiolipin, which is not present in any other eukaryotic cellular membrane. Cardiolipin promotes the formation of respiratory supercomplexes (SC InIIInIVn), which are supramolecular assemblies based upon specific, though dynamic interactions between individual respiratory complexes (Greggio et al. 2017; Lenaz et al. 2017). Membrane fluidity exerts an influence on functional properties of proteins incorporated in the membranes (Waczulikova et al. 2007). In addition to mitochondrial movement along microtubules, mitochondrial morphology can change in response to energy requirements of the cell via processes known as fusion and fission, through which mitochondria communicate within a network, and in response to intracellular stress factors causing swelling and ultimately permeability transition.

Mitochondria are the structural and functional elements of cell respiration. Mitochondrial respiration is the reduction of oxygen by electron transfer coupled to electrochemical proton translocation across the mtIM. In the process of oxidative phosphorylation (OXPHOS), the catabolic reaction of oxygen consumption is electrochemically coupled to the transformation of energy in the form of adenosine triphosphate (ATP; Mitchell 1961, 2011). Mitochondria are the powerhouses of the cell which contain the machinery of the OXPHOS-pathways, including transmembrane respiratory complexes (proton pumps with FMN, Fe-S and cytochrome b, c, aa3 redox systems); alternative dehydrogenases and oxidases; the coenzyme ubiquinone (Q); F-ATPase or ATP synthase; the enzymes of the tricarboxylic acid cycle, fatty acid and aminoacid oxidation; transporters of ions, metabolites and co-factors; and mitochondrial kinases related to energy transfer pathways. The mitochondrial proteome comprises over 1,200 proteins (Calvo et al. 2015; 2017), mostly encoded by nuclear DNA (nDNA), with a variety of functions, many of which are relatively well known (e.g., proteins regulating mitochondrial biogenesis or apoptosis), while others are still under investigation, or need to be identified (e.g., alanine transporter). Only lately it is possible to use the mammalian mitochondrial proteome to discover and characterize the genetic basis of mitochondrial diseases (Williams et al. 2016; Palmfeldt and Bross 2017).

There is a constant crosstalk between mitochondria and the other cellular components. The crosstalk between mitochondria and endoplasmic reticulum is involved in the regulation of calcium homeostasis, cell division, autophagy, differentiation, and anti-viral signaling (Murley and Nunnari 2016). Mitochondria contribute to the formation of peroxisomes, which are hybrids of mitochondrial and ER-derived precursors (Sugiura et al. 2017). Cellular mitochondrial homeostasis (mitostasis) is maintained through regulation at both the transcriptional and post-translational level. Cell signalling modules contribute to homeostatic regulation throughout the cell cycle or even cell death by activating proteostatic modules (e.g., the ubiquitin-proteasome and autophagy-lysosome pathways) and genome stability modules in response to varying energy demands and stress cues (Quiros et al. 2016). Mitochondria can traverse cell boundaries in a process known as horizontal mitochondrial transfer between cells (Torralba et al. 2016).

Mitochondria typically maintain several copies of their own circular genome known as mitochondrial DNA (mtDNA; hundred to thousands per cell; Cummins 1998), which is maternally inherited. Biparental mitochondrial inheritance is documented in mammals, birds, fish, reptiles and invertebrate groups, and is even the norm in bivalves (Breton et al. 2007; White et al. 2008). mtDNA is compact (16.5 kB in humans) and encodes 13 protein subunits of the transmembrane respiratory Complexes CI, CIII, CIV and F-ATPase, 22 tRNAs, and two RNAs. Additional gene content has been suggested to include microRNAs, piRNA, smithRNAs, repeat associated RNA, and even additional proteins (Duarte et al. 2014; Lee et al. 2015; Cobb et al. 2016). The mitochondrial genome requires nuclear-encoded mitochondrially targeted proteins for its maintenance and expression (Rackham et al. 2012).

Mitochondrial dysfunction is associated with a wide variety of genetic and degenerative diseases. Robust mitochondrial function is supported by physical exercise and caloric balance, and is central for sustained metabolic health throughout life. Therefore, a more consistent presentation of mitochondrial physiology will improve our understanding of the etiology of disease, the diagnostic repertoire of mitochondrial medicine, with a focus on protective medicine, lifestyle and healthy aging.

Abbreviation: mt, as generally used in mtDNA. Mitochondrion is singular and mitochondria is plural.

1. Introduction

Mitochondria are the powerhouses of the cell with numerous physiological, molecular, and genetic functions (Box 1). Every study of mitochondrial health and disease is faced with Evolution, Age, Gender and sex, Lifestyle, and Environment (EAGLE) as essential background conditions intrinsic to the individual patient or subject, cohort, species, tissue and to some extent even cell line. As a large and coordinated group of laboratories and researchers, the mission of the global MitoEAGLE Network is to generate the necessary scale, type, and quality of consistent data sets and conditions to address this intrinsic complexity. Harmonization of experimental protocols and implementation of a quality control and data management system are required to interrelate results gathered across a spectrum of studies and to generate a rigorously monitored database focused on mitochondrial respiratory function. In this way, researchers within the same and across different disciplines can compare findings across traditions and generations to clearly defined and accepted international standards.

Reliability and comparability of quantitative results depend on the accuracy of measurements under strictly-defined conditions. A conceptual framework is required to warrant meaningful interpretation and comparability of experimental outcomes carried out by research groups at different institutes. With an emphasis on quality of research, collected data can be useful far beyond the specific question of a particular experiment. Enabling meta-analytic studies is the most economic way of providing robust answers to biological questions (Cooper et al. 2009). Vague or ambiguous jargon can lead to confusion and may relegate valuable signals to wasteful noise. For this reason, measured values must be expressed in standard units for each parameter used to define mitochondrial respiratory function. Harmonization of nomenclature and definition of technical terms are essential to improve the awareness of the intricate meaning of current and past scientific vocabulary, for documentation and integration into databases in general, and quantitative modelling in particular (Beard 2005). The focus on coupling states and fluxes through metabolic pathways of aerobic energy transformation in mitochondrial preparations is a first step in the attempt to generate a conceptually-oriented nomenclature in bioenergetics and mitochondrial physiology. Coupling states of intact cells, the protonmotive force, and respiratory control by fuel substrates and specific inhibitors of respiratory enzymes will be reviewed in subsequent communications.

2. Oxidative phosphorylation and coupling states in mitochondrial preparations

‘Every professional group develops its own technical jargon for talking about matters of critical concern ... People who know a word can share that idea with other members of their group, and a shared vocabulary is part of the glue that holds people together and allows them to create a shared culture’ (Miller 1991).

Mitochondrial preparations are defined as either isolated mitochondria, or tissue and cellular preparations in which the barrier function of the plasma membrane is disrupted. Since this entails the loss of cell viability, mitochondrial preparations are not studied in vivo. In contrast to isolated mitochondria and tissue homogenate preparations, mitochondria in permeabilized tissues and cells are in situ relative to the plasma membrane. The plasma membrane separates the intracellular compartment including the cytosol, nucleus, and other organelles from the extracellular environment. The plasma membrane consists of a lipid bilayer with embedded proteins and attached organic molecules that collectively control the selective permeability of ions, organic molecules, and particles across the cell boundary. The intact plasma membrane prevents the passage of many water-soluble mitochondrial substrates and inorganic ions—such as succinate, adenosine diphosphate (ADP) and inorganic phosphate (Pi), that must be controlled at kinetically-saturating concentrations for the analysis of respiratory capacities; this limits the scope of investigations into mitochondrial respiratory function in intact cells (Figure 2A).

The cholesterol content of the plasma membrane is high compared to mitochondrial membranes. Therefore, mild detergents—such as digitonin and saponin—can be applied to selectively permeabilize the plasma membrane by interaction with cholesterol and allow free exchange of organic molecules and inorganic ions between the cytosol and the immediate cell environment, while maintaining the integrity and localization of organelles, cytoskeleton, and the nucleus. Application of optimum concentrations of permeabilization agents (mild detergents or toxins) leads to washout of cytosolic marker enzymes—such as lactate dehydrogenase—and results in the complete loss of cell viability, tested by nuclear staining using membrane-impermeable dyes, while mitochondrial function remains intact. Respiration of isolated mitochondria remains unaltered after the addition of low concentrations of digitonin or saponin. In addition to mechanical cell disruption during homogenization of tissue, permeabilization agents may be applied to ensure permeabilization of all cells. Suspensions of cells permeabilized in the respiration chamber and crude tissue homogenates contain all components of the cell at highly dilute concentrations. All mitochondria are retained in chemically-permeabilized mitochondrial preparations and crude tissue homogenates. In the preparation of isolated mitochondria, the cells or tissues are homogenized, and the mitochondria are separated from other cell fractions and purified by differential centrifugation, entailing the loss of a fraction of the total mitochondrial content. Typical mitochondrial recovery ranges from 30% to 80%. Maximization of the purity of isolated mitochondria may compromise not only the mitochondrial yield but also the structural and functional integrity. Therefore, protocols to isolate mitochondria need to be optimized according to each study. The term mitochondrial preparation does not include further fractionation of mitochondrial components, neither submitochondrial particles.

2.1. Respiratory control and coupling

Respiratory coupling control states are established in studies of mitochondrial preparations to obtain reference values for various output variables. Physiological conditions in vivo deviate from these experimentally obtained states. Since kinetically-saturating concentrations, e.g., of ADP or oxygen (O2; dioxygen), may not apply to physiological intracellular conditions, relevant information is obtained in studies of kinetic responses to variations in [ADP] or [O2] in the range between kinetically-saturating concentrations and anoxia (Gnaiger 2001).

The steady-state: Mitochondria represent a thermodynamically open system in non-equilibrium states of biochemical energy transformation. State variables (protonmotive force; redox states) and metabolic rates (fluxes) are measured in defined mitochondrial respiratory states. Steady-states can be obtained only in open systems, in which changes by internal transformations, e.g., O2 consumption, are instantaneously compensated for by external fluxes, e.g., O2 supply, preventing a change of O2 concentration in the system (Gnaiger 1993b). Mitochondrial respiratory states monitored in closed systems satisfy the criteria of pseudo-steady states for limited periods of time, when changes in the system (concentrations of O2, fuel substrates, ADP, Pi, H+) do not exert significant effects on metabolic fluxes (respiration, phosphorylation). Such pseudo-steady states require respiratory media with sufficient buffering capacity and substrates maintained at kinetically-saturating concentrations, and thus depend on the kinetics of the processes under investigation.

Specification of biochemical dose: Substrates, uncouplers, inhibitors, and other chemical reagents are titrated to dissect mitochondrial function. Nominal concentrations of these substances are usually reported as initial amount of substance concentration [mol∙L-1] in the incubation medium. When aiming at the measurement of kinetically saturated processes—such as OXPHOS-capacities, the concentrations for substrates can be chosen according to the apparent equilibrium constant, Km’. In the case of hyperbolic kinetics, only 80% of maximum respiratory capacity is obtained at a substrate concentration of four times the Km’, whereas substrate concentrations of 5, 9, 19 and 49 times the Km’ are theoretically required for reaching 83%, 90%, 95% or 98% of the maximal rate (Gnaiger 2001). Other reagents are chosen to inhibit or alter some processes. The amount of these chemicals in an experimental incubation is selected to maximize effect, avoiding unacceptable off-target consequences that would adversely affect the data being sought. Specifying the amount of substance in an incubation as nominal concentration in the aqueous incubation medium can be ambiguous (Doskey et al. 2015), particularly for lipophilic substances (oligomycin, uncouplers, permeabilization agents) or cations (TPP+; fluorescent dyes such as safranin, TMRM), which accumulate in biological membranes or in the mitochondrial matrix. For example, a dose of digitonin of 8 fmol∙cell­1 (10 pg∙cell­1; 10 µg∙10­6 cells) is optimal for permeabilization of endothelial cells, and the concentration in the incubation medium has to be adjusted according to the cell density applied (Doerrier et al. 2018).

Generally, dose/exposure can be specified per unit of biological sample, i.e., (nominal moles of xenobiotic)/(number of cells) [mol∙cell-1] or, as appropriate, per mass of biological sample [mol∙kg-1]. This approach to specification of dose/exposure provides a scalable parameter that can be used to design experiments, help interpret a wide variety of experimental results, and provide absolute information that allows researchers worldwide to make the most use of published data (Doskey et al. 2015).

Phosphorylation, P», and P»/O2 ratio: Phosphorylation in the context of OXPHOS is defined as phosphorylation of ADP by Pi to form ATP. On the other hand, the term phosphorylation is used generally in many contexts, e.g., protein phosphorylation. This justifies consideration of a symbol more discriminating and specific than P as used in the P/O ratio (phosphate to atomic oxygen ratio), where P indicates phosphorylation of ADP to ATP or GDP to GTP (Figure 2). We propose the symbol P» for the endergonic (uphill) direction of phosphorylation ADP→ATP, and likewise the symbol P« for the corresponding exergonic (downhill) hydrolysis ATP→ADP (Figure 3). P» refers mainly to electrontransfer phosphorylation but may also involve substrate-level phosphorylation as part of the tricarboxylic acid (TCA) cycle (succinyl-CoA ligase; phosphoglycerate kinase) and phosphorylation of ADP catalyzed by pyruvate kinase, and of GDP phosphorylated by phosphoenolpyruvate carboxykinase. Transphosphorylation is performed by adenylate kinase, creatine kinase, hexokinase and nucleoside diphosphate kinase. In isolated mammalian mitochondria, ATP production catalyzed by adenylate kinase (2 ADP ↔ ATP + AMP) proceeds without fuel substrates in the presence of ADP (Komlódi and Tretter 2017). Kinase cycles are involved in intracellular energy transfer and signal transduction for regulation of energy flux.

The P»/O2 ratio (P»/4 e-) is two times the ‘P/O’ ratio (P»/2 e-) of classical bioenergetics. P»/O2 is a generalized symbol, not specific for determination of Pi consumption (Pi/O2 flux ratio), ADP depletion (ADP/O2 flux ratio), or ATP production (ATP/O2 flux ratio). The mechanistic P»/O2 ratio—or P»/O2 stoichiometry—is calculated from the proton–to–O2 and proton–to–phosphorylation coupling stoichiometries (Figure 2B):

P»/O2 =  Hpos+/O2Hneg+/P»	(1)

The H+pos/O2 coupling stoichiometry (referring to the full 4 electron reduction of O2) depends on the ET-pathway control state, which defines the relative involvement of the three coupling sites (CI, CIII and CIV) in the catabolic pathway of electrons from the oxidation of reduced fuel substrates to the reduction of O2. This varies with: (1) a bypass of CI by single or multiple electron input into the Q-junction; and (2) a bypass of CIV by involvement of alternative oxidases, AOX, which are not expressed in mammalian mitochondria.

Figure 2. Cell respiration and oxidative phosphorylation (OXPHOS)

Mitochondrial respiration is the oxidation of fuel substrates with electron transfer to O2 as the electron acceptor. For explanation of symbols see also Figure 1.

(A) Respiration in intact cells: Extra-mitochondrial catabolism of macrofuels or uptake of small molecules by the cell provides the mitochondrial fuel substrates. Many fuel substrates are catabolized to acetyl-CoA or glutamate, and further electron transfer reduces nicotinamide adenine dinucleotide to NADH or flavin adenine dinucleotide to FADH2. In aerobic respiration, electron transfer is coupled to the phosphorylation of ADP to ATP, with energy transformation mediated by the protonmotive force, ∆p. Anabolic reactions are linked to catabolism, both by ATP as the intermediary energy currency and by small organic precursor molecules as building blocks for biosynthesis (not shown). Glycolysis involves substrate-level phosphorylation of ADP to ATP in fermentation without utilization of O2. In contrast, extra-mitochondrial oxidation of fatty acids and amino acids proceeds partially in peroxisomes without coupling to ATP production: acyl-CoA oxidase catalyzes the oxidation of FADH2 with electron transfer to O2; amino acid oxidases oxidize flavin mononucleotide FMNH2 or FADH2. Coenzyme Q, Q, the cytochromes b, c, and aa3 are redox systems of the mitochondrial inner membrane, mtIM. Dashed arrows indicate the connection between the redox proton pumps (respiratory Complexes CI, CIII and CIV) and the transmembrane ∆p. Mitochondrial outer membrane, mtOM; glycerol-3-phosphate, Gp; tricarboxylic acid cycle, TCA cycle.

(B) Respiration in mitochondrial preparations: The mitochondrial electron transfer system (ETS) is fuelled by diffusion and transport of substrates across the mitochondrial outer and inner membrane and consists of the matrix-ETS and membrane-ETS. ET-pathways are coupled to the phosphorylation-pathway. ET-pathways converge at the N-junction and Q-junction. Additional arrows indicate electron entry into the Q-junction through electron transferring flavoprotein, glycerophosphate dehydrogenase, dihydro-orotate dehydrogenase, choline dehydrogenase, and sulfide-ubiquinone oxidoreductase. The dotted arrow indicates the branched pathway of oxygen consumption by alternative quinol oxidase (AOX). The H+pos/O2 ratio is the outward proton flux from the matrix space to the positively (pos) charged vesicular compartment, divided by catabolic O2 flux in the NADH-pathway. The H+neg/P» ratio is the inward proton flux from the inter-membrane space to the negatively (neg) charged matrix space, divided by the flux of phosphorylation of ADP to ATP. These are not fixed stoichiometries due to ion leaks and proton slip.

(C) Phosphorylation-pathway catalyzed by the proton pump F1FO­ATPase (F-ATPase, ATP synthase), adenine nucleotide translocase, and inorganic phosphate transporter. The H+neg/P» stoichiometry is the sum of the coupling stoichiometry in the F-ATPase reaction (­2.7 H+pos from the positive intermembrane space, 2.7 H+neg to the matrix, i.e., the negative compartment) and the proton balance in the translocation of ADP3­, ATP4- and Pi2-. Modified from (B) Lemieux et al. (2017) and (C) Gnaiger (2014).

Figure 3. Coupling in oxidative phosphorylation (OXPHOS)

2[H] indicates the reduced hydrogen equivalents of fuel substrates of the catabolic reaction k with oxygen. O2 flux, JkO2, through the catabolic ET-pathway, is coupled to flux through the phosphorylation-pathway of ADP to ATP, JP». The redox proton pumps of the ET-pathway drive proton flux into the positive (pos) compartment, JmH+pos, generating the output protonmotive force (motive, subscript m). F-ATPase is coupled to inward proton current into the negative (neg) compartment, JmH+neg, to phosphorylate ADP+Pi to ATP. The system is defined by the boundaries (full black line) and is not a black box, but is analysed as a compartmental system. The negative compartment (neg–compartment, enclosed by the dotted line) is the matrix space, separated by the mtIM from the positive compartment (pos–compartment). ADP+Pi and ATP are the substrate- and product–compartments (scalar ADP and ATP compartments, D–comp. and T–comp.), respectively. At steady-state proton turnover, J∞H+, and ATP turnover, J∞P, maintain concentrations constant, when JmH+∞ = JmH+pos = JmH+neg, and JP∞ = JP» = JP«. Modified from Gnaiger (2014).

H+pos/O2 is 12 in the ET-pathways involving CIII and CIV as proton pumps, increasing to 20 for the NADH-pathway (Figure 2B), but a general consensus on H+pos/O2 stoichiometries remains to be reached (Hinkle 2005; Wikström and Hummer 2012; Sazanov 2015). The H+neg/P» coupling stoichiometry 3.7 (Figure 2B) is the sum of 2.7 H+neg required by the F-ATPase of vertebrate and most invertebrate species (Watt et al. 2010) and the proton balance in the translocation of ADP, ATP and Pi (Figure 2C). Taken together, the mechanistic P»/O2 ratio is calculated at 5.4 and 3.3 for NADH- and succinate-linked respiration, respectively (Eq. 1). The corresponding classical P»/O ratios (referring to the 2 electron reduction of 0.5 O2) are 2.7 and 1.6 (Watt et al. 2010), in agreement with the measured P»/O ratio for succinate of 1.58 ± 0.02 (Gnaiger et al. 2000).

The effective P»/O2 flux ratio (YP»/O2 = JP»/JkO2; Figure 3) is diminished relative to the mechanistic P»/O2 ratio by intrinsic and extrinsic uncoupling and dyscoupling (Figure 4). Such generalized uncoupling is different from switching to mitochondrial pathways that involve fewer than three proton pumps (‘coupling sites’: Complexes CI, CIII and CIV), bypassing CI through multiple electron entries into the Q-junction, or CIII and CIV through AOX (Figure 2B). Reprogramming of mitochondrial pathways leading to different types of substrates being oxidized may be considered as a switch of gears (changing the stoichiometry by altering the substrate that is oxidized) rather than uncoupling (loosening the tightness of coupling relative to a fixed stoichiometry). In addition, YP»/O2 depends on several experimental conditions of flux control, increasing as a hyperbolic function of [ADP] to a maximum value (Gnaiger 2001).

Control and regulation: The terms metabolic control and regulation are frequently used synonymously, but are distinguished in metabolic control analysis: ‘We could understand the regulation as the mechanism that occurs when a system maintains some variable constant over time, in spite of fluctuations in external conditions (homeostasis of the internal state). On the other hand, metabolic control is the power to change the state of the metabolism in response to an external signal (Fell 1997). Respiratory control may be induced by experimental control signals that exert an influence on: (1) ATP demand and ADP phosphorylation-rate; (2) fuel substrate composition, pathway competition; (3) available amounts of substrates and O2, e.g., starvation and hypoxia; (4) the protonmotive force, redox states, flux–force relationships, coupling and efficiency; (5) Ca2+ and other ions including H+; (6) inhibitors, e.g., nitric oxide or intermediary metabolites such as oxaloacetate; (7) signalling pathways and regulatory proteins, e.g., insulin resistance, transcription factor hypoxia inducible factor 1. Mechanisms of respiratory control and regulation include adjustments of: (1) enzyme activities by allosteric mechanisms and phosphorylation; (2) enzyme content, concentrations of cofactors and conserved moieties—such as adenylates, nicotinamide adenine dinucleotide [NAD+/NADH], coenzyme Q, cytochrome c; (3) metabolic channeling by supercomplexes; and (4) mitochondrial density (enzyme concentrations and membrane area) and morphology (cristae folding, fission and fusion). Mitochondria are targeted directly by hormones, thereby affecting their energy metabolism (Lee et al. 2013; Gerö and Szabo 2016; Price and Dai 2016; Moreno et al. 2017). Evolutionary or acquired differences in the genetic and epigenetic basis of mitochondrial function (or dysfunction) between subjects and gene therapy; age; gender, biological sex, and hormone concentrations; life style including exercise and nutrition; and environmental issues including thermal, atmospheric, toxicological and pharmacological factors, exert an influence on all control mechanisms listed above. For reviews, see Brown 1992; Gnaiger 1993a, 2009; 2014; Paradies et al. 2014; Morrow et al. 2017.

Respiratory control and response: Lack of control by a metabolic pathway, e.g., phosphorylation-pathway, means that there will be no response to a variable activating it, e.g., [ADP]. The reverse, however, is not true as the absence of a response to [ADP] does not exclude the phosphorylation-pathway from having some degree of control. The degree of control of a component of the OXPHOS-pathway on an output variable—such as O2 flux, will in general be different from the degree of control on other outputs—such as phosphorylation-flux or proton leak flux. Therefore, it is necessary to be specific as to which input and output are under consideration (Fell 1997).

Respiratory coupling control and ET-pathway control: Respiratory control refers to the ability of mitochondria to adjust O2 flux in response to external control signals by engaging various mechanisms of control and regulation. Respiratory control is monitored in a mitochondrial preparation under conditions defined as respiratory states. When phosphorylation of ADP to ATP is stimulated or depressed, an increase or decrease is observed in electron transfer measured as O2 flux in respiratory coupling states of intact mitochondria (‘controlled states’ in the classical terminology of bioenergetics). Alternatively, coupling of electron transfer with phosphorylation is disengaged by uncouplers. These protonophores are weak lipid-soluble acids which disrupt the barrier function of the mtIM and thus shortcircuit the protonmotive system, functioning like a clutch in a mechanical system. The corresponding coupling control state is characterized by a high O2 flux without control by P» (‘uncontrolled state’).

ET-pathway control states are obtained in mitochondrial preparations by depletion of endogenous substrates and addition to the mitochondrial respiration medium of fuel substrates (2[H] in Figure 3) and specific inhibitors, activating selected mitochondrial catabolic pathways, k, of electron transfer from the oxidation of fuel substrates to reduction of O2 (Figure 2A). Coupling control states and pathway control states are complementary, since mitochondrial preparations depend on an exogenous supply of pathway-specific fuel substrates and oxygen (Gnaiger 2014).

Coupling: In mitochondrial electron transfer, vectorial transmembrane proton flux is coupled through the redox proton pumps CI, CIII and CIV to the catabolic flux of scalar reactions, collectively measured as O2 flux (Figure 3). Thus mitochondria are elements of energy transformation. Energy is a conserved quantity and cannot be lost or produced in any internal process (First Law of the thermodynamics). Open and closed systems can gain or lose energy only by external fluxes—by exchange with the environment. Therefore, energy can neither be produced by mitochondria, nor is there any internal process without energy conservation. Exergy is defined as the Gibbs energy (‘free energy’) with the potential to perform work under conditions of constant volume and pressure. Coupling is the interaction of an exergonic process (spontaneous, negative exergy change) with an endergonic process (positive exergy change) in energy transformations which conserve part of the exergy that would be irreversibly lost or dissipated in an uncoupled process.

Figure 4. Mechanisms of respiratory uncoupling

An intact mitochondrial inner membrane, mtIM, is required for vectorial, compartmental coupling. ‘Acoupled’ respiration is the consequence of structural disruption with catalytic activity of non-compartmental mitochondrial fragments. Inducibly uncoupled (activation of UCP1) and experimentally noncoupled respiration (titration of protonophores) stimulate respiration to maximum O2 flux. H+ leak-uncoupled, decoupled, and loosely coupled respiration are components of intrinsic uncoupling. Pathological dysfunction may affect all types of uncoupling, including permeability transition, causing intrinsically dyscoupled respiration. Similarly, toxicological and environmental stress factors can cause extrinsically dyscoupled respiration.

Uncoupling: Uncoupling of mitochondrial respiration is a general term comprising diverse mechanisms:

1. 	Proton leak across the mtIM from the pos– to the neg–compartment (Figure 3);

2. 	Cycling of other cations, strongly stimulated by permeability transition, or experimentally induced by valinomycin in the presence of K+;

3. 	Proton slip in the redox proton pumps when protons are effectively not pumped (CI, CIII and CIV) or are not driving phosphorylation (F-ATPase);

4. 	Loss of vesicular (compartmental) integrity when electron transfer is acoupled;

5. 	Electron leak in the loosely coupled univalent reduction of O2 to superoxide (O2•–; superoxide anion radical).

Differences of terms—uncoupled vs. noncoupled—are easily overlooked, although they relate to different meanings of uncoupling (Figure 4).

2.2. Coupling states and respiratory rates

Respiratory capacities in coupling control states: To extend the classical nomenclature on mitochondrial coupling states (Section 2.3) by a concept-driven terminology that explicitly incorporates information on the meaning of respiratory states, the terminology must be general and not restricted to any particular experimental protocol or mitochondrial preparation (Gnaiger 2009). Concept-driven nomenclature aims at mapping the meaning and concept behind the words and acronyms onto the forms of words and acronyms (Miller 1991). The focus of concept-driven nomenclature is primarily the conceptual ‘why’, along with clarification of the experimental ‘how’. Respiratory capacities delineate, comparable to channel capacity in information theory (Schneider 2006), the upper bound of the rate of respiration measured in defined coupling control states and electron transfer-pathway (ET-pathway) states (Figure 5).

To provide a diagnostic reference for respiratory capacities of core energy metabolism, the capacity of oxidative phosphorylation, OXPHOS, is measured at kinetically-saturating concentrations of ADP and Pi. The oxidative ET-capacity reveals the limitation of OXPHOS-capacity mediated by the phosphorylation-pathway. The ET- and phosphorylation-pathways comprise coupled segments of the OXPHOS-system. ET-capacity is measured as noncoupled respiration by application of external uncouplers. The contribution of intrinsically uncoupled O2 consumption is studied by preventing the stimulation of phosphorylation either in the absence of ADP or by inhibition of the phosphorylation-pathway. The corresponding states are collectively classified as LEAK-states, when O2 consumption compensates mainly for ion leaks, including the proton leak. Defined coupling states are induced by: (1) adding cation chelators such as EGTA, binding free Ca2+ and thus limiting cation cycling; (2) adding ADP and Pi; (3) inhibiting the phosphorylation-pathway; and (4) uncoupler titrations, while maintaining a defined ET-pathway state with constant fuel substrates and inhibitors of specific branches of the ET-pathway (Figure 5).

Figure 5. Four-compartment model of oxidative phosphorylation

Respiratory states (ET, OXPHOS, LEAK; Table 1) and corresponding rates (E, P, L) are connected by the protonmotive force, ∆p. ET-capacity, E (1), is partitioned into (2) dissipative LEAK-respiration, L, when the Gibbs energy change of catabolic O2 flux is irreversibly lost, (3) net OXPHOS-capacity, P-L, with partial conservation of the capacity to perform work, and (4) the excess capacity, E-P. Modified from Gnaiger (2014).

The three coupling states, ET, LEAK and OXPHOS, are shown schematically with the corresponding respiratory rates, abbreviated as E, L and P, respectively (Figure 5). We distinguish metabolic pathways from metabolic states and the corresponding metabolic rates; for example: ET-pathways (Figure 5), ET-states (Figure 6C), and ET-capacities, E, respectively (Table 1). The protonmotive force is high in the OXPHOS-state when it drives phosphorylation, maximum in the LEAK-state of coupled mitochondria, driven by LEAK-respiration at a minimum back flux of cations to the matrix side, and very low in the ET-state when uncouplers short-circuit the proton cycle (Table 1).

Table 1. Coupling states and residual oxygen consumption in mitochondrial preparations in relation to respiration- and phosphorylation-flux, JkO2 and JP», and protonmotive force, ∆p. Coupling states are established at kinetically-saturating concentrations of fuel substrates and O2.

| State | JkO2 | JP» | ∆p | Inducing factors | Limiting factors |
| --- | --- | --- | --- | --- | --- |
| LEAK | L; low, cation leak-dependent respiration | 0 | max. | proton leak, slip, and cation cycling | JP» = 0: (1) without ADP, LN; (2) max. ATP/ADP ratio, LT; or (3) inhibition of the phosphorylation-pathway, LOmy |
| OXPHOS | P; high, ADP-stimulated respiration | max. | high | kinetically-saturating [ADP] and [Pi] | JP» by phosphorylation-pathway; or JkO2 by ET-capacity |
| ET | E; max., noncoupled respiration | 0 | low | optimal external uncoupler concentration for max. JO2,E | JkO2 by ET-capacity |
| ROX | Rox; min., residual O2 consumption | 0 | 0 | JO2,Rox in non-ET-pathway oxidation reactions | inhibition of all ET-pathways; or absence of fuel substrates |

LEAK-state (Figure 6A): The LEAK-state is defined as a state of mitochondrial respiration when O2 flux mainly compensates for ion leaks in the absence of ATP synthesis, at kinetically-saturating concentrations of O2 and respiratory fuel substrates. LEAK-respiration is measured to obtain an estimate of intrinsic uncoupling without addition of an experimental uncoupler: (1) in the absence of adenylates, i.e., AMP, ADP and ATP; (2) after depletion of ADP at a maximum ATP/ADP ratio; or (3) after inhibition of the phosphorylation-pathway by inhibitors of F-ATPase—such as oligomycin, or of adenine nucleotide translocase—such as carboxyatractyloside, CAT. Adjustment of the nominal concentration of these inhibitors to the density of biological sample applied can minimize or avoid inhibitory side-effects exerted on ET-capacity or even some dyscoupling.

Proton leak and uncoupled respiration: Proton leak is a leak current of protons. The intrinsic proton leak is the uncoupled process in which protons diffuse across the mtIM in the dissipative direction of the downhill protonmotive force without coupling to phosphorylation (Figure 6A). The proton leak flux depends non-linearly on the protonmotive force (Garlid et al. 1989; Divakaruni and Brand 2011), it is a property of the mtIM and may be enhanced due to possible contaminations by free fatty acids. Inducible uncoupling mediated by uncoupling protein 1 (UCP1) is physiologically controlled, e.g., in brown adipose tissue. UCP1 is a member of the mitochondrial carrier family which is involved in the translocation of protons across the mtIM (Klingenberg 2017). Consequently, the short-circuit diminishes the protonmotive force and stimulates electron transfer to O2 and heat dissipation without phosphorylation of ADP.

Cation cycling: There can be other cation contributors to leak current including calcium and probably magnesium. Calcium current is balanced by mitochondrial Na+/Ca2+ exchange, which is balanced by Na+/H+ or K+/H+ exchanges. This is another effective uncoupling mechanism different from proton leak (Table 2).

intrinsic, no protonophore added

Table 2. Terms on respiratory coupling and uncoupling.

| Term | JkO2 | P»/O2 | Note |
| --- | --- | --- | --- |
| acoupled |  | 0 | electron transfer in mitochondrial fragments without vectorial proton translocation (Figure 4) |
| uncoupled | L | 0 | non-phosphorylating LEAK-respiration (Figure 6A) |
| proton leak- uncoupled |  | 0 | component of L, H+ diffusion across the mtIM (Figure 4) |
| decoupled |  | 0 | component of L, proton slip (Figure 4) |
| loosely coupled |  | 0 | component of L, lower coupling due to superoxide formation and bypass of proton pumps (Figure 4) |
| dyscoupled |  | 0 | pathologically, toxicologically, environmentally increased uncoupling, mitochondrial dysfunction |
| inducibly uncoupled |  | 0 | by UCP1 or cation (e.g., Ca2+) cycling (Figure 4) |
| noncoupled | E | 0 | non-phosphorylating respiration stimulated to maximum flux at optimum exogenous uncoupler concentration (Figure 6C) |
| well-coupled | P | high | phosphorylating respiration with an intrinsic LEAK component (Figure 6B) |
| fully coupled | P – L | max. | OXPHOS-capacity corrected for LEAK-respiration (Figure 5) |

Proton slip and decoupled respiration: Proton slip is the decoupled process in which protons are only partially translocated by a redox proton pump of the ET-pathways and slip back to the original vesicular compartment. The proton leak is the dominant contributor to the overall leak current in mammalian mitochondria incubated under physiological conditions at 37 °C, whereas proton slip is increased at lower experimental temperature (Canton et al. 1995). Proton slip can also happen in association with the F-ATPase, in which the proton slips downhill across the pump to the matrix without contributing to ATP synthesis. In each case, proton slip is a property of the proton pump and increases with the pump turnover rate.

Electron leak and loosely coupled respiration: Superoxide production by the ETS leads to a bypass of redox proton pumps and correspondingly lower P»/O2 ratio. This depends on the actual site of electron leak and the scavenging of hydrogen peroxide by cytochrome c, whereby electrons may re-enter the ETS with proton translocation by CIV.

Loss of compartmental integrity and acoupled respiration: Electron transfer and catabolic O2 flux proceed without compartmental proton translocation in disrupted mitochondrial fragments. Such fragments form during mitochondrial isolation, and may not fully fuse to re-establish structurally intact mitochondria. Loss of mtIM integrity, therefore, is the cause of acoupled respiration, which is a nonvectorial dissipative process without control by the protonmotive force.

Dyscoupled respiration: Mitochondrial injuries may lead to dyscoupling as a pathological or toxicological cause of uncoupled respiration. Dyscoupling may involve any type of uncoupling mechanism, e.g., opening the permeability transition pore. Dyscoupled respiration is distinguished from the experimentally induced noncoupled respiration in the ET-state (Table 2).

OXPHOS-state (Figure 6B): The OXPHOS-state is defined as the respiratory state with kinetically-saturating concentrations of O2, respiratory and phosphorylation substrates, and absence of exogenous uncoupler, which provides an estimate of the maximal respiratory capacity in the OXPHOS-state for any given ET-pathway state. Respiratory capacities at kinetically-saturating substrate concentrations provide reference values or upper limits of performance, aiming at the generation of data sets for comparative purposes. Physiological activities and effects of substrate kinetics can be evaluated relative to the OXPHOS-capacity.

Figure 6. Respiratory coupling states

(A) LEAK-state and rate, L: Phosphorylation is arrested, JP» = 0, and catabolic O2 flux, JkO2,L, is controlled mainly by the proton leak, JmH+neg,L, at maximum protonmotive force (Figure 4).

(B) OXPHOS-state and rate, P: Phosphorylation, JP», is stimulated by kinetically-saturating [ADP] and [Pi], and is supported by a high protonmotive force. O2 flux, JkO2,P, is well-coupled at a P»/O2 ratio of JP»,P/JO2,P.

(C) ET-state and rate, E: Noncoupled respiration, JkO2,E, is maximum at optimum exogenous uncoupler concentration and phosphorylation is zero, JP» = 0. See also Figure 3.

As discussed previously, 0.2 mM ADP does not fully saturate flux in isolated mitochondria (Gnaiger 2001; Puchowicz et al. 2004); greater ADP concentration is required, particularly in permeabilized muscle fibres and cardiomyocytes, to overcome limitations by intracellular diffusion and by the reduced conductance of the mtOM (Jepihhina et al. 2011, Illaste et al. 2012, Simson et al. 2016), either through interaction with tubulin (Rostovtseva et al. 2008) or other intracellular structures (Birkedal et al. 2014). In permeabilized muscle fibre bundles of high respiratory capacity, the apparent Km for ADP increases up to 0.5 mM (Saks et al. 1998), consistent with experimental evidence that >90% saturation is reached only at >5 mM ADP (Pesta and Gnaiger 2012). Similar ADP concentrations are also required for accurate determination of OXPHOS-capacity in human clinical cancer samples and permeabilized cells (Klepinin et al. 2016; Koit et al. 2017). Whereas 2.5 to 5 mM ADP is sufficient to obtain the actual OXPHOS-capacity in many types of permeabilized tissue and cell preparations, experimental validation is required in each specific case.

Electron transfer-state (Figure 6C): The ET-state is defined as the noncoupled state with kinetically-saturating concentrations of O2, respiratory substrate and optimum exogenous uncoupler concentration for maximum O2 flux. O2 flux determined in the ET-state yields an estimate of ET-capacity. Inhibition of respiration is observed above optimum uncoupler concentrations. As a consequence of the nearly collapsed protonmotive force, the driving force is insufficient for phosphorylation, and JP» = 0.

ROX state and Rox: Besides the three fundamental coupling states of mitochondrial preparations, the state of residual O2 consumption, ROX, is relevant to assess respiratory function (Figure 1). ROX is not a coupling state. The rate of residual oxygen consumption, Rox, is defined as O2 consumption due to oxidative reactions measured after inhibition of ET—with rotenone, malonic acid and antimycin A. Cyanide and azide inhibit not only CIV but catalase and several peroxidases involved in Rox. However, high concentrations of antimycin A, but not rotenone or cyanide, inhibit peroxisomal acyl-CoA oxidase and D-amino acid oxidase (Vamecq et al. 1987). ROX represents a baseline that is used to correct respiration measured in defined coupling states. Rox-corrected L, P and E not only lower the values of total fluxes, but also changes the flux control ratios L/P and L/E. Rox is not necessarily equivalent to non-mitochondrial reduction of O2, considering O2-consuming reactions in mitochondria that are not related to ET—such as O2 consumption in reactions catalyzed by monoamine oxidases (type A and B), monooxygenases (cytochrome P450 monooxygenases), dioxygenase (sulfur dioxygenase and trimethyllysine dioxygenase), and several hydoxylases. Even isolated mitochondrial fractions, especially those obtained from liver, may be contaminated by peroxisomes. This fact makes the exact determination of mitochondrial O2 consumption and mitochondria-associated generation of reactive oxygen species complicated (Schönfeld et al. 2009; Speijer 2016; Figure 2). The dependence of ROX-linked O2 consumption needs to be studied in detail together with non-ET enzyme activities, availability of specific substrates, O2 concentration, and electron leakage leading to the formation of reactive oxygen species.

Quantitative relations: E may exceed or be equal to P. E > P is observed in many types of mitochondria, varying between species, tissues and cell types (Gnaiger 2009). E-P is the excess ET-capacity pushing the phosphorylation-flux (Figure 2C) to the limit of its capacity of utilizing the protonmotive force. In addition, the magnitude of E-P depends on the tightness of respiratory coupling or degree of uncoupling, since an increase of L causes P to increase towards the limit of E. The excess E-P capacity, E-P, therefore, provides a sensitive diagnostic indicator of specific injuries of the phosphorylation-pathway, under conditions when E remains constant but P declines relative to controls (Figure 5). Substrate cocktails supporting simultaneous convergent electron transfer to the Q-junction for reconstitution of TCA cycle function establish pathway control states with high ET-capacity, and consequently increase the sensitivity of the E-P assay.

E cannot theoretically be lower than P. E < P must be discounted as an artefact, which may be caused experimentally by: (1) loss of oxidative capacity during the time course of the respirometric assay, since E is measured subsequently to P; (2) using insufficient uncoupler concentrations; (3) using high uncoupler concentrations which inhibit ET (Gnaiger 2008); (4) high oligomycin concentrations applied for measurement of L before titrations of uncoupler, when oligomycin exerts an inhibitory effect on E. On the other hand, the excess ET-capacity is overestimated if non-saturating [ADP] or [Pi] are used. See State 3 in the next section.

The net OXPHOS-capacity is calculated by subtracting L from P (Figure 5). The net P»/O2 equals P»/(P-L), wherein the dissipative LEAK component in the OXPHOS-state may be overestimated. This can be avoided by measuring LEAK-respiration in a state when the protonmotive force is adjusted to its slightly lower value in the OXPHOS-state—by titration of an ET inhibitor (Divakaruni and Brand 2011). Any turnover-dependent components of proton leak and slip, however, are underestimated under these conditions (Garlid et al. 1993). In general, it is inappropriate to use the term ATP production or ATP turnover for the difference of O2 flux measured in the OXPHOS and LEAK states. P-L is the upper limit of OXPHOS-capacity that is freely available for ATP production (corrected for LEAK-respiration) and is fully coupled to phosphorylation with a maximum mechanistic stoichiometry (Figure 5).

The rates of LEAK respiration and OXPHOS capacity depend on (1) the tightness of coupling under the influence of the respiratory uncoupling mechanisms (Figure 4), and (2) the coupling stoichiometry which varies as a function of the substrate type undergoing oxidation in ET-pathways with either two or three coupling sites (Figure 2B). When cocktails with NADH-linked substrates and succinate are used, the relative contribution of ET-pathways with three or two coupling sites cannot be controlled experimentally, is difficult to determine, and may shift in transitions between LEAK-, OXPHOS- and ET-states (Gnaiger 2014). Under these experimental conditions, we cannot separate the tightness of coupling versus coupling stoichiometry as the mechanisms of respiratory control in the shift of L/P ratios. The tightness of coupling and fully coupled O2 flux, P-L (Table 2), therefore, are obtained from measurements of coupling control of LEAK respiration, OXPHOS- and ET-capacities in well defined pathway states, using either pyruvate and malate as substrates or the classical succinate and rotenone substrate-inhibitor combination (Figure 2B).

2.3. Classical terminology for isolated mitochondria

‘When a code is familiar enough, it ceases appearing like a code; one forgets that there is a decoding mechanism. The message is identical with its meaning’ (Hofstadter 1979).

Chance and Williams (1955; 1956) introduced five classical states of mitochondrial respiration and cytochrome redox states. Table 3 shows a protocol with isolated mitochondria in a closed respirometric chamber, defining a sequence of respiratory states. States and rates are not specifically distinguished in this nomenclature.

Table 3. Metabolic states of mitochondria (Chance and Williams, 1956; Table V).

| State | [O2] | ADP level | Substrate level | Respiration rate | Rate-limiting substance |
| --- | --- | --- | --- | --- | --- |
| 1 | >0 | low | low | slow | ADP |
| 2 | >0 | high | ~0 | slow | substrate |
| 3 | >0 | high | high | fast | respiratory chain |
| 4 | >0 | low | high | slow | ADP |
| 5 | 0 | high | high | 0 | oxygen |

State 1 is obtained after addition of isolated mitochondria to air-saturated isoosmotic/isotonic respiration medium containing Pi, but no fuel substrates and no adenylates, i.e., AMP, ADP, ATP.

State 2 is induced by addition of a ‘high’ concentration of ADP (typically 100 to 300 µM), which stimulates respiration transiently on the basis of endogenous fuel substrates and phosphorylates only a small portion of the added ADP. State 2 is then obtained at a low respiratory activity limited by exhausted endogenous fuel substrate availability (Table 3). If addition of specific inhibitors of respiratory complexes—such as rotenone—does not cause a further decline of O2 flux, State 2 is equivalent to the ROX state (See below.). If inhibition is observed, undefined endogenous fuel substrates are a confounding factor of pathway control, contributing to the effect of subsequently externally added substrates and inhibitors. In contrast to the original protocol, an alternative sequence of titration steps is frequently applied, in which the alternative ‘State 2’ has an entirely different meaning, when this second state is induced by addition of fuel substrate without ADP (LEAK-state; in contrast to State 2 defined in Table 1 as a ROX state), followed by addition of ADP.

State 3 is the state stimulated by addition of fuel substrates while the ADP concentration is still high (Table 3) and supports coupled energy transformation through oxidative phosphorylation. 'High ADP' is a concentration of ADP specifically selected to allow the measurement of State 3 to State 4 transitions of isolated mitochondria in a closed respirometric chamber. Repeated ADP titration re-establishes State 3 at ‘high ADP’. Starting at O2 concentrations near air-saturation (ca. 200 µM O2 at sea level and 37 °C), the total ADP concentration added must be low enough (typically 100 to 300 µM) to allow phosphorylation to ATP at a coupled O2 flux that does not lead to O2 depletion during the transition to State 4. In contrast, kinetically-saturating ADP concentrations usually are 10-fold higher than 'high ADP', e.g., 2.5 mM in isolated mitochondria. The abbreviation State 3u is occasionally used in bioenergetics, to indicate the state of respiration after titration of an uncoupler, without sufficient emphasis on the fundamental difference between OXPHOS-capacity (well-coupled with an endogenous uncoupled component) and ET-capacity (noncoupled).

State 4 is a LEAK-state that is obtained only if the mitochondrial preparation is intact and well-coupled. Depletion of ADP by phosphorylation to ATP causes a decline of O2 flux in the transition from State 3 to State 4. Under the conditions of State 4, a maximum protonmotive force and high ATP/ADP ratio are maintained. The gradual decline of YP»/O2 towards diminishing [ADP] at State 4 must be taken into account for calculation of P»/O2 ratios (Gnaiger 2001). State 4 respiration, LT (Table 1), reflects intrinsic proton leak and ATP hydrolysis activity. O2 flux in State 4 is an overestimation of LEAK-respiration if the contaminating ATP hydrolysis activity recycles some ATP to ADP, JP«, which stimulates respiration coupled to phosphorylation, JP» > 0. This can be tested by inhibition of the phosphorylation-pathway using oligomycin, ensuring that JP» = 0 (State 4o). Alternatively, sequential ADP titrations re-establish State 3, followed by State 3 to State 4 transitions while sufficient O2 is available. Anoxia may be reached, however, before exhaustion of ADP (State 5).

State 5 is the state after exhaustion of O2 in a closed respirometric chamber. Diffusion of O2 from the surroundings into the aqueous solution may be a confounding factor preventing complete anoxia (Gnaiger 2001). Chance and Williams (1955) provide an alternative definition of State 5, which gives it the different meaning of ROX versus anoxia: ‘State 5 may be obtained by antimycin A treatment or by anaerobiosis’.

In Table 3, only States 3 and 4 (and ‘State 2’ in the alternative protocol: addition of fuel substrates without ADP; not included in the table) are coupling control states, with the restriction that O2 flux in State 3 may be limited kinetically by non-saturating ADP concentrations (Table 1).

3. Normalization: fluxes and flows

3.1. Normalization: system or sample

The term rate is not sufficiently defined to be useful for reporting data (Figure 7). The inconsistency of the meanings of rate becomes fully apparent when considering Galileo Galilei’s famous principle, that ‘bodies of different weight all fall at the same rate (have a constant acceleration)’ (Coopersmith 2010).

Flow per system, I: In a generalization of electrical terms, flow as an extensive quantity (I; per system) is distinguished from flux as a size-specific quantity (J; per system size) (Figure 7A). Electric current is flow, Iel [A ≡ C∙s-1] per system (extensive quantity). When dividing this extensive quantity by system size (cross-sectional area of a ‘wire’), a size-specific quantity is obtained, which is flux (current density), Jel [A∙m-2 = C∙s-1∙m-2] (Box 2).

Box 2: Metabolic fluxes and flows: vectorial and scalar

Fluxes are vectors, if they have spatial geometric direction in addition to magnitude. Electric charge per unit time is electric flow or current, Iel = dQel∙dt-1 [A]. When expressed per unit cross-sectional area, A [m2], a vector flux is obtained, which is current density (surface-density of flow) perpendicular to the direction of flux, Jel = Iel∙A-1 [A∙m-2] (Cohen et al. 2008). For all transformations flows, Itr, are defined as extensive quantities. Vector and scalar fluxes are obtained as Jtr = Itr∙A-1 [mol∙s-1∙m-2] and Jtr = Itr∙V-1 [mol∙s-1∙m-3], expressing flux as an area-specific vector or volume-specific vectorial or scalar quantity, respectively (Gnaiger 1993b). We use the metre–kilogram–second–ampere (MKSA) international system of units (SI) for general cases ([m], [kg], [s] and [A]), with decimal SI prefixes for specific applications (Table 4).

We suggest to define: (1) vectoral fluxes, which are translocations as functions of gradients with direction in geometric space in continuous systems; (2) vectorial fluxes, which describe translocations in discontinuous systems and are restricted to information on compartmental differences (Figure 3, transmembrane proton flux); and (3) scalar fluxes, which are transformations in a homogenous system (Figure 3, catabolic O2 flux, JkO2).

Vectorial transmembrane proton fluxes, JmH+pos and JmH+neg, are analyzed in a heterogenous compartmental system as a quantity with directional but not spatial information. Translocation of protons across the mtIM has a defined direction, either from the negative compartment (matrix space; negative, neg–compartment) to the positive compartment (inter-membrane space; positive, pos–compartment) or vice versa (Figure 3). The arrows defining the direction of the translocation between the two vesicular compartments may point upwards or downwards, right or left, without any implication that these are actual directions in space. The pos–compartment is neither above nor below the neg–compartment in a spatial sense, but can be visualized arbitrarily in a figure in the upper position (Figure 3). In general, the compartmental direction of vectorial translocation from the neg–compartment to the pos–compartment is defined by assigning the initial and final state as ergodynamic compartments, H+neg → H+pos or 0 = -1 H+neg+1 H+pos, related to work (erg = work) that must be performed to lift the proton from a lower to a higher electrochemical potential or from the lower to the higher ergodynamic compartment (Gnaiger 1993b).

In analogy to vectorial translocation, the direction of a scalar chemical reaction, A → B or 0 = -1 A+1 B, is defined by assigning substrates and products, A and B, as ergodynamic compartments. O2 is defined as a substrate in respiratory O2 consumption, which together with the fuel substrates comprises the substrate compartment of the catabolic reaction. Volume-specific scalar O2 flux is coupled to vectorial translocation, yielding the H+pos/O2 ratio (Figure 2B).

Extensive quantities: An extensive quantity increases proportionally with system size. The magnitude of an extensive quantity is completely additive for non-interacting subsystems—such as mass or flow expressed per defined system. The magnitude of these quantities depends on the extent or size of the system (Cohen et al. 2008).

Size-specific quantities: ‘The adjective specific before the name of an extensive quantity is often used to mean divided by mass’ (Cohen et al. 2008). In this system-paradigm, mass-specific flux is flow divided by mass of the system (the total mass of everything within the measuring chamber or reactor). A mass-specific quantity is independent of the extent of non-interacting homogenous subsystems. Tissue-specific quantities (related to the sample in contrast to the system) are of fundamental interest in the field of comparative mitochondrial physiology, where specific refers to the type of the sample rather than mass of the system. The term specific, therefore, must be clarified; sample-specific, e.g., muscle mass-specific normalization, is distinguished from system-specific quantities (mass or volume; Figure 7).

Figure 7. Flow and flux, and normalization in structure-function analysis

(A) Different meanings of rate may lead to confusion, if the normalization is not sufficiently specified. Results are frequently expressed as mass-specific flux, JmX, per mg protein, dry or wet weight (mass). Cell volume, Vcell, may be used for normalization (volume-specific flux, JVcell), which must be clearly distinguished from flow per cell, INcell, or flux, JV, expressed for methodological reasons per volume of the measurement system.

(B) O2 flow, IO2/X, is the product of performance per functional element (element function, mitochondria-specific flux), element density (mitochondrial density, DmtE), and size of entity X (mass, MX). (b1) Structured analysis: performance is the product of mitochondrial function (mt-specific flux) and structure (functional elements; DmtE times mass of X). (b2) Unstructured analysis: performance is the product of entity mass-specific flux, JO2/MX = IO2/X/MX = IO2/mX [mol∙s-1∙kg-1] and size of entity, expressed as mass of X; MX = mX∙NX-1 [kg∙x­1]. Modified from Gnaiger (2014). For further details see Table 4.

3.2. Normalization for system-size: flux per chamber volume

System-specific flux, JV,O2: The experimental system (experimental chamber) is part of the measurement apparatus, separated from the environment as an isolated, closed, open, isothermal or non-isothermal system (Table 4). On another level, we distinguish between (1) the system with volume V and mass m defined by the system boundaries, and (2) the sample or objects with volume VX and mass mX that are enclosed in the experimental chamber (Figure 7). Metabolic O2 flow per object, IO2/X, increases as the mass of the object is increased. Sample mass-specific O2 flux, JO2/mX should be independent of the mass of the sample studied in the instrument chamber, but system volume-specific O2 flux, JV,O2 (per volume of the instrument chamber), should increase in direct proportion to the mass of the sample in the chamber. Whereas JV,O2 depends on mass-concentration of the sample in the chamber, it should be independent of the chamber (system) volume at constant sample mass. There are practical limitations to increase the mass-concentration of the sample in the chamber, when one is concerned about crowding effects and instrumental time resolution.

When the reactor volume does not change during the reaction, which is typical for liquid phase reactions, the volume-specific flux of a chemical reaction r is the time derivative of the advancement of the reaction per unit volume, JV,rB = drξB/dt∙V-1 [(mol∙s­1)∙L­1]. The rate of concentration change is dcB/dt [(mol∙L­1)∙s­1], where concentration is cB = nB/V. There is a difference between (1) JV,rO2 [mol∙s­1∙L­1] and (2) rate of concentration change [mol∙L­1∙s­1]. These merge to a single expression only in closed systems. In open systems, external fluxes (such as O2 supply) are distinguished from internal transformations (catabolic flux, O2 consumption). In a closed system, external flows of all substances are zero and O2 consumption (internal flow of catabolic reactions k), IkO2 [pmol∙s-1], causes a decline of the amount of O2 in the system, nO2 [nmol]. Normalization of these quantities for the volume of the system, V [L ≡ dm3], yields volume-specific O2 flux, JV,kO2 = IkO2/V [nmol∙s-1∙L-1], and O2 concentration, [O2] or cO2 = nO2/V [µmol∙L­1 = µM = nmol∙mL­1]. Instrumental background O2 flux is due to external flux into a non-ideal closed respirometer; then total volume-specific flux has to be corrected for instrumental background O2 flux—O2 diffusion into or out of the instrumental chamber. JV,kO2 is relevant mainly for methodological reasons and should be compared with the accuracy of instrumental resolution of background-corrected flux, e.g., ±1 nmol∙s­1∙L-1 (Gnaiger 2001). ‘Metabolic’ or catabolic indicates O2 flux, JkO2, corrected for: (1) instrumental background O2 flux; (2) chemical background O2 flux due to autoxidation of chemical components added to the incubation medium; and (3) Rox for O2-consuming side reactions unrelated to the catabolic pathway k.

3.3. Normalization: per sample

The challenges of measuring mitochondrial respiratory flux are matched by those of normalization. Application of common and defined units is required for direct transfer of reported results into a database. The second [s] is the SI unit for the base quantity time. It is also the standard time-unit used in solution chemical kinetics. A rate may be considered as the numerator and normalization as the complementary denominator, which are tightly linked in reporting the measurements in a format commensurate with the requirements of a database. Normalization (Table 4) is guided by physicochemical principles, methodological considerations, and conceptual strategies (Figure 7).

Sample concentration, CmX: Normalization for sample concentration is required to report respiratory data. Considering a tissue or cells as the sample, X, the sample mass is mX [mg], which is frequently measured as wet or dry weight, Ww or Wd [mg], respectively, or as amount of tissue or cell protein, mProtein. In the case of permeabilized tissues, cells, and homogenates, the sample concentration, CmX = mX/V [g∙L-1 = mg∙mL­1], is the mass of the subsample of tissue that is transferred into the instrument chamber.

Mass-specific flux, JO2/mX: Mass-specific flux is obtained by expressing respiration per mass of sample, mX [mg]. X is the type of sample—isolated mitochondria, tissue homogenate, permeabilized fibres or cells. Volume-specific flux is divided by mass concentration of X, JO2/mX = JV,O2/CmX; or flow per cell is divided by mass per cell, JO2/mcell = IO2/cell/Mcell. If mass-specific O2 flux is constant and independent of sample size (expressed as mass), then there is no interaction between the subsystems. A 1.5 mg and a 3.0 mg muscle sample respires at identical mass-specific flux. Mass-specific O2 flux, however, may change with the mass of a tissue sample, cells or isolated mitochondria in the measuring chamber, in which the nature of the interaction becomes an issue. Therefore, cell density must be optimized, particularly in experiments carried out in wells, considering the confluency of the cell monolayer or clumps of cells (Salabei et al. 2014).

Table 4. Sample concentrations and normalization of flux.

| Expression | Symbol | Definition | Unit | Notes |
| --- | --- | --- | --- | --- |
| Sample |  |  |  |  |
| identity of sample | X | object: cell, tissue, animal, patient |  |  |
| number of sample entities X | NX | number of objects | x |  |
| mass of sample X | mX |  | kg | 1 |
| mass of object X | MX | MX = mX∙NX-1 | kg∙x­1 | 1 |
| Mitochondria |  |  |  |  |
| mitochondria | mt | X = mt |  |  |
| amount of mt-elements | mtE | quantity of mt-marker | mtEU |  |
| Concentrations |  |  |  |  |
| object number concentration | CNX | CNX = NX∙V-1 | x∙m­3 | 2 |
| sample mass concentration | CmX | CmX = mX∙V-1 | kg∙m­3 |  |
| mitochondrial concentration | CmtE | CmtE = mtE∙V-1 | mtEU∙m­3 | 3 |
| specific mitochondrial density | DmtE | DmtE = mtE∙mX-1 | mtEU∙kg­1 | 4 |
| mitochondrial content, mtE per object X | mtEX | mtEX = mtE∙NX-1 | mtEU∙x­1 | 5 |
| O2 flow and flux |  |  |  | 6 |
| flow, system | IO2 | internal flow | mol∙s-1 | 7 |
| volume-specific flux | JV,O2 | JV,O2 = IO2∙V-1 | mol∙s-1∙m-3 | 8 |
| flow per object X | IO2/X | IO2/X = JV,O2∙CNX-1 | mol∙s-1∙x-1 | 9 |
| mass-specific flux | JO2/mX | JO2/mX = JV,O2∙CmX-1 | mol∙s-1∙kg-1 |  |
| mitochondria-specific flux | JO2/mtE | JO2/mtE = JV,O2∙CmtE-1 | mol∙s-1∙mtEU-1 | 10 |

1	Units are given in the MKSA system (Box 2). The SI prefix k is used for the SI base unit of mass (kg = 1,000 g). In praxis, various SI prefixes are used for convenience, to make numbers easily readable, e.g., 1 mg tissue, cell or mitochondrial mass instead of 0.000001 kg.

2	In case sample X = cells, the object number concentration is CNcell = Ncell∙V-1, and volume may be expressed in [dm3 ≡ L] or [cm3 = mL]. See Table 5 for different object types.

3	mt-concentration is an experimental variable, dependent on sample concentration: (1) CmtE = mtE∙V­1; (2) CmtE = mtEX∙CNX; (3) CmtE = CmX∙DmtE.

4	If the amount of mitochondria, mtE, is expressed as mitochondrial mass, then DmtE is the mass fraction of mitochondria in the sample. If mtE is expressed as mitochondrial volume, Vmt, and the mass of sample, mX, is replaced by volume of sample, VX, then DmtE is the volume fraction of mitochondria in the sample.

5	mtEX = mtE∙NX-1 = CmtE∙CNX-1.

6	O2 can be replaced by other chemicals B to study different reactions, e.g., ATP, H2O2, or vesicular compartmental translocations, e.g., Ca2+.

7	IO2 and V are defined per instrument chamber as a system of constant volume (and constant temperature), which may be closed or open. IO2 is abbreviated for IrO2, i.e., the metabolic or internal O2 flow of the chemical reaction r in which O2 is consumed, hence the negative stoichiometric number, νO2 = -1. IrO2 = drnO2/dt∙νO2-1. If r includes all chemical reactions in which O2 participates, then drnO2 = dnO2 – denO2, where dnO2 is the change in the amount of O2 in the instrument chamber and denO2 is the amount of O2 added externally to the system. At steady state, by definition dnO2 = 0, hence drnO2 = –denO2.

8	JV,O2 is an experimental variable, expressed per volume of the instrument chamber.

9	IO2/X is a physiological variable, depending on the size of entity X.

10	There are many ways to normalize for a mitochondrial marker, that are used in different experimental approaches: (1) JO2/mtE = JV,O2∙CmtE-1; (2) JO2/mtE = JV,O2∙CmX-1∙DmtE-1 = JO2/mX∙DmtE­1; (3) JO2/mtE = JV,O2∙CNX­1∙mtEX­1 = IO2/X∙mtEX-1; (4) JO2/mtE = IO2∙mtE-1. The mt-elemental unit [mtEU] varies between different mt-markers.

Number concentration, CNX: CNX is the experimental number concentration of sample X. In the case of cells or animals, e.g., nematodes, CNX = NX/V [x∙L-1], where NX is the number of cells or organisms in the chamber (Table 4).

Flow per object, IO2/X: A special case of normalization is encountered in respiratory studies with permeabilized (or intact) cells. If respiration is expressed per cell, the O2 flow per measurement system is replaced by the O2 flow per cell, IO2/cell (Table 4). O2 flow can be calculated from volume-specific O2 flux, JV,O2 [nmol∙s-1∙L-1] (per V of the measurement chamber [L]), divided by the number concentration of cells, CNcell = Ncell/V [cell∙L­1], where Ncell is the number of cells in the chamber. The total cell count is the sum of viable and dead cells, Ncell = Nvce+Ndce (Table 5). The cell viability index, CVI = Nvce/Ncell, is the ratio of viable cells (Nvce; before experimental permeabilization) per total cell count. After experimental permeabilization, all cells are permeabilized, Npce = Ncell. The cell viability index can be used to normalize respiration for the number of cells that have been viable before experimental permeabilization, IO2/vce = IO2/cell/CVI, considering that mitochondrial respiratory dysfunction in dead cells should be eliminated as a confounding factor.

Table 5. Sample types, X, abbreviations, and quantification.

| Identity of sample | X | NX | Massa | Volume | mt-Marker |
| --- | --- | --- | --- | --- | --- |
| mitochondrial preparation | mt-prep | [x] | [kg] | [m3] | [mtEU] |
| isolated mitochondria | imt |  | mmt | Vmt | mtE |
| tissue homogenate | thom |  | mthom |  | mtEthom |
| permeabilized tissue | pti |  | mpti |  | mtEpti |
| permeabilized fibre | pfi |  | mpfi |  | mtEpfi |
| permeabilized cell | pce | Npce | Mpce | Vpce | mtEpce |
| cellsb | cell | Ncell | Mcell | Vcell | mtEcell |
| intact cell, viable cell | vce | Nvce | Mvce | Vvce |  |
| dead cell | dce | Ndce | Mdce | Vdce |  |
| organism | org | Norg | Morg | Vorg |  |

a	Instead of mass, the wet weight or dry weight is frequently stated, Ww or Wd. mX is mass of the sample [kg], MX is mass of the object [kg∙x-1].

b	Total cell count, Ncell = Nvce + Ndce

Cellular O2 flow can be compared between cells of identical size. To take into account changes and differences in cell size, normalization is required to obtain cell size-specific or mitochondrial marker-specific O2 flux (Renner et al. 2003).

The complexity changes when the sample is a whole organism studied as an experimental model. The scaling law in respiratory physiology reveals a strong interaction of O2 flow and individual body mass of an organism, since basal metabolic rate (flow) does not increase linearly with body mass, whereas maximum mass-specific O2 flux, VO2max or VO2peak, is approximately constant across a large range of individual body mass (Weibel and Hoppeler 2005), with individuals, breeds, and species deviating substantially from this relationship. VO2peak of human endurance athletes is 60 to 80 mL O2·min­1·kg­1 body mass, converted to JO2peak/M of 45 to 60 nmol·s-1·g-1 (Gnaiger 2014; Table 6).

3.4. Normalization for mitochondrial content

Tissues can contain multiple cell populations that may have distinct mitochondrial subtypes. Mitochondria undergo dynamic fission and fusion cycles, and can exist in multiple stages and sizes that may be altered by a range of factors. The isolation of mitochondria (often achieved through differential centrifugation) can therefore yield a subsample of the mitochondrial types present in a tissue, depending on the isolation protocols utilized (e.g., centrifugation speed). This possible bias should be taken into account when planning experiments using isolated mitochondria. Different sizes of mitochondria are enriched at specific centrifugation speeds, which can be used strategically for isolation of mitochondrial subpopulations.

Part of the mitochondrial content of a tissue is lost during preparation of isolated mitochondria. The fraction of isolated mitochondria obtained from a tissue sample is expressed as mitochondrial recovery. At a high mitochondrial recovery the fraction of isolated mitochondria is more representative of the total mitochondrial population than in preparations characterized by low recovery. Determination of the mitochondrial recovery and yield is based on measurement of the concentration of a mitochondrial marker in the stock of isolated mitochondria, CmtE,stock, and crude tissue homogenate, CmtE,thom, which simultaneously provides information on the specific mitochondrial density in the sample, DmtE (Table 4).

Normalization is a problematic subject; it is essential to consider the question of the study. If the study aims at comparing tissue performance—such as the effects of a treatment on a specific tissue, then normalization for tissue mass or protein content is appropriate. However, if the aim is to find differences on mitochondrial function independent of mitochondrial density (Table 4), then normalization to a mitochondrial marker is imperative (Figure 7). One cannot assume that quantitative changes in various markers—such as mitochondrial proteins—necessarily occur in parallel with one another. It should be established that the marker chosen is not selectively altered by the performed treatment. In conclusion, the normalization must reflect the question under investigation to reach a satisfying answer. On the other hand, the goal of comparing results across projects and institutions requires standardization on normalization for entry into a databank.

Mitochondrial concentration, CmtE, and mitochondrial markers: Mitochondrial organelles comprise a dynamic cellular reticulum in various states of fusion and fission. Hence, the definition of an "amount" of mitochondria is often misconceived: mitochondria cannot be counted reliably as a number of occurring elements. Therefore, quantification of the "amount" of mitochondria depends on the measurement of chosen mitochondrial markers. ‘Mitochondria are the structural and functional elemental units of cell respiration’ (Gnaiger 2014). The quantity of a mitochondrial marker can reflect the amount of mitochondrial elements, mtE, expressed in various mitochondrial elemental units [mtEU] specific for each measured mt-marker (Table 4). However, since mitochondrial quality may change in response to stimuli—particularly in mitochondrial dysfunction and after exercise training (Pesta et al. 2011; Campos et al. 2017)—some markers can vary while others are unchanged: (1) Mitochondrial volume and membrane area are structural markers, whereas mitochondrial protein mass is frequently used as a marker for isolated mitochondria. (2) Molecular and enzymatic mitochondrial markers (amounts or activities) can be selected as matrix markers, e.g., citrate synthase activity, mtDNA; mtIM-markers, e.g., cytochrome c oxidase activity, aa3 content, cardiolipin, or mtOM-markers, e.g., TOM20. (3) Extending the measurement of mitochondrial marker enzyme activity to mitochondrial pathway capacity, ET- or OXPHOS-capacity can be considered as an integrative functional mitochondrial marker.

Depending on the type of mitochondrial marker, the mitochondrial elements, mtE, are expressed in marker-specific units. Mitochondrial concentration in the measurement chamber and the tissue of origin are quantified as (1) a quantity for normalization in functional analyses, CmtE, and (2) a physiological output that is the result of mitochondrial biogenesis and degradation, DmtE, respectively (Table 4). It is recommended, therefore, to distinguish experimental mitochondrial concentration, CmtE = mtE/V and physiological mitochondrial density, DmtE = mtE/mX. Then mitochondrial density is the amount of mitochondrial elements per mass of tissue, which is a biological variable (Figure 7). The experimental variable is mitochondrial density multiplied by sample mass concentration in the measuring chamber, CmtE = DmtE∙CmX, or mitochondrial content multiplied by sample number concentration, CmtE = mtEX∙CNX (Table 4).

Mitochondria-specific flux, JO2/mtE: Volume-specific metabolic O2 flux depends on: (1) the sample concentration in the volume of the instrument chamber, CmX, or CNX; (2) the mitochondrial density in the sample, DmtE = mtE/mX or mtEX = mtE/NX; and (3) the specific mitochondrial activity or performance per elemental mitochondrial unit, JO2/mtE = JV,O2/CmtE [mol∙s-1∙mtEU-1] (Table 4). Obviously, the numerical results for JO2/mtE vary with the type of mitochondrial marker chosen for measurement of mtE and CmtE = mtE/V [mtEU∙m-3].

3.5. Evaluation of mitochondrial markers

Different methods are implicated in the quantification of mitochondrial markers and have different strengths. Some problems are common for all mitochondrial markers, mtE: (1) Accuracy of measurement is crucial, since even a highly accurate and reproducible measurement of O2 flux results in an inaccurate and noisy expression if normalized by a biased and noisy measurement of a mitochondrial marker. This problem is acute in mitochondrial respiration because the denominators used (the mitochondrial markers) are often small moieties of which accurate and precise determination is difficult. This problem can be avoided when O2 fluxes measured in substrate-uncoupler-inhibitor titration protocols are normalized for flux in a defined respiratory reference state, which is used as an internal marker and yields flux control ratios, FCRs. FCRs are independent of externally measured markers and, therefore, are statistically robust, considering the limitations of ratios in general (Jasienski and Bazzaz 1999). FCRs indicate qualitative changes of mitochondrial respiratory control, with highest quantitative resolution, separating the effect of mitochondrial density or concentration on JO2/mX and IO2/X from that of function per elemental mitochondrial marker, JO2/mtE (Pesta et al. 2011; Gnaiger 2014). (2) If mitochondrial quality does not change and only the amount of mitochondria varies as a determinant of mass-specific flux, any marker is equally qualified in principle; then in practice selection of the optimum marker depends only on the accuracy and precision of measurement of the mitochondrial marker. (3) If mitochondrial flux control ratios change, then there may not be any best mitochondrial marker. In general, measurement of multiple mitochondrial markers enables a comparison and evaluation of normalization for a variety of mitochondrial markers. Particularly during postnatal development, the activity of marker enzymes—such as cytochrome c oxidase and citrate synthase—follows different time courses (Drahota et al. 2004). Evaluation of mitochondrial markers in healthy controls is insufficient for providing guidelines for application in the diagnosis of pathological states and specific treatments.

In line with the concept of the respiratory control ratio (Chance and Williams 1955a), the most readily used normalization is that of flux control ratios and flux control factors (Gnaiger 2014). Selection of the state of maximum flux in a protocol as the reference state has the advantages of: (1) internal normalization; (2) statistical linearization of the response in the range of 0 to 1; and (3) consideration of maximum flux for integrating a large number of elemental steps in the OXPHOS- or ET-pathways. This reduces the risk of selecting a functional marker that is specifically altered by the treatment or pathology, yet increases the chance that the highly integrative pathway is disproportionately affected, e.g., the OXPHOS- rather than ET-pathway in case of an enzymatic defect in the phosphorylation-pathway. In this case, additional information can be obtained by reporting flux control ratios based on a reference state which indicates stable tissue-mass specific flux. Stereological determination of mitochondrial content via two-dimensional transmission electron microscopy can have limitations due to the dynamics of mitochondrial size (Meinild Lundby et al. 2017). Accurate determination of three-dimensional volume by two-dimensional microscopy can be both time consuming and statistically challenging (Larsen et al. 2012).

The validity of using mitochondrial marker enzymes (citrate synthase activity, Complex I–IV amount or activity) for normalization of flux is limited in part by the same factors that apply to flux control ratios. Strong correlations between various mitochondrial markers and citrate synthase activity (Reichmann et al. 1985; Boushel et al. 2007; Mogensen et al. 2007) are expected in a specific tissue of healthy subjects and in disease states not specifically targeting citrate synthase. Citrate synthase activity is acutely modifiable by exercise (Tonkonogi et al. 1997; Leek et al. 2001). Evaluation of mitochondrial markers related to a selected age and sex cohort cannot be extrapolated to provide recommendations for normalization in respirometric diagnosis of disease, in different states of development and ageing, different cell types, tissues, and species. mtDNA normalized to nDNA via qPCR is correlated to functional mitochondrial markers including OXPHOS- and ET-capacity in some cases (Puntschart et al. 1995; Wang et al. 1999; Menshikova et al. 2006; Boushel et al. 2007), but lack of such correlations have been reported (Menshikova et al. 2005; Schultz and Wiesner 2000; Pesta et al. 2011). Several studies indicate a strong correlation between cardiolipin content and increase in mitochondrial function with exercise (Menshikova et al. 2005; Menshikova et al. 2007; Larsen et al. 2012; Faber et al. 2014), but it has not been evaluated as a general mitochondrial biomarker in disease.

3.6. Conversion: units

Many different units have been used to report the O2 consumption rate, OCR (Table 6). SI base units provide the common reference to introduce the theoretical principles (Figure 7), and are used with appropriately chosen SI prefixes to express numerical data in the most practical format, with an effort towards unification within specific areas of application (Table 7). Reporting data in SI units—including the mole [mol], coulomb [C], joule [J], and second [s]—should be encouraged, particularly by journals which propose the use of SI units.

Although volume is expressed as m3 using the SI base unit, the litre [dm3] is a conventional unit of volume for concentration and is used for most solution chemical kinetics. If one multiplies IO2/cell by CNcell, then the result will not only be the amount of O2 [mol] consumed per time [s-1] in one litre [L­1], but also the change in O2 concentration per second (for any volume of an ideally closed system). This is ideal for kinetic modeling as it blends with chemical rate equations where concentrations are typically expressed in mol∙L-1 (Wagner et al. 2011). In studies of multinuclear cells—such as differentiated skeletal muscle cells—it is easy to determine the number of nuclei but not the total number of cells. A generalized concept, therefore, is obtained by substituting cells by nuclei as the sample entity. This does not hold, however, for enucleated platelets.

For studies of cells, we recommend that respiration be expressed, as far as possible, as: (1) O2 flux normalized for a mitochondrial marker, for separation of the effects of mitochondrial quality and content on cell respiration (this includes FCRs as a normalization for a functional mitochondrial marker); (2) O2 flux in units of cell volume or mass, for comparison of respiration of cells with different cell size (Renner et al. 2003) and with studies on tissue preparations, and (3) O2 flow in units of attomole (10-18 mol) of O2 consumed in a second by each cell [amol∙s­1∙cell-1], numerically equivalent to [pmol∙s-1∙10-6 cells]. This convention allows information to be easily used when designing experiments in which O2 flow must be considered. For example, to estimate the volume-specific O2 flux in an instrument chamber that would be expected at a particular cell number concentration, one simply needs to multiply the flow per cell by the number of cells per volume of interest. This provides the amount of O2 [mol] consumed per time [s-1] per unit volume [L-1]. At an O2 flow of 100 amol∙s­1∙cell-1 and a cell density of 109 cells∙L­1 (106 cells∙mL­1), the volume-specific O2 flux is 100 nmol∙s-1∙L-1 (100 pmol∙s-1∙mL-1).

Table 6. Conversion of various units used in respirometry and ergometry. e- is the number of electrons or reducing equivalents. zB is the charge number of entity B.

| 1 Unit ∙ | Multiplication factor | SI-unit | Note |
| --- | --- | --- | --- |
| ng.atom O∙s-1 (2 e-) | 0.5 | nmol O2∙s­1 |  |
| ng.atom O∙min-1 (2 e-) | 8.33 | pmol O2∙s­1 |  |
| natom O∙min-1 (2 e-) | 8.33 | pmol O2∙s­1 |  |
| nmol O2∙min-1 (4 e-) | 16.67 | pmol O2∙s­1 |  |
| nmol O2∙h-1 (4 e-) | 0.2778 | pmol O2∙s­1 |  |
| mL O2∙min-1 at STPDa | 0.744 | µmol O2∙s­1 | 1 |
| W = J/s at -470 kJ/mol O2 | -2.128 | µmol O2∙s­1 |  |
| mA = mC∙s-1 (zH+ = 1) | 10.36 | nmol H+∙s­1 | 2 |
| mA = mC∙s-1 (zO2 = 4) | 2.59 | nmol O2∙s­1 | 2 |
| nmol H+∙s­1 (zH+ = 1) | 0.09649 | mA | 3 |
| nmol O2∙s­1 (zO2 = 4) | 0.38594 | mA | 3 |

1	At standard temperature and pressure dry (STPD: 0 °C = 273.15 K and 1 atm = 101.325 kPa = 760 mmHg), the molar volume of an ideal gas, Vm, and Vm,O2 is 22.414 and 22.392 L∙mol-1, respectively. Rounded to three decimal places, both values yield the conversion factor of 0.744. For comparison at normal temperature and pressure dry (NTPD: 20 °C), Vm,O2 is 24.038 L∙mol-1. Note that the SI standard pressure is 100 kPa.

2	The multiplication factor is 106/(zB∙F).

3	The multiplication factor is zB∙F/106.

ET-capacity in human cell types including HEK 293, primary HUVEC and fibroblasts ranges from 50 to 180 amol∙s-1∙cell-1, measured in intact cells in the noncoupled state (see Gnaiger 2014). At 100 amol∙s-1∙cell-1 corrected for Rox, the current across the mt-membranes, IH+e, approximates 193 pA∙cell-1 or 0.2 nA per cell. See Rich (2003) for an extension of quantitative bioenergetics from the molecular to the human scale, with a transmembrane proton flux equivalent to 520 A in an adult at a catabolic power of ­110 W. Modelling approaches illustrate the link between protonmotive force and currents (Willis et al. 2016).

We consider isolated mitochondria as powerhouses and proton pumps as molecular machines to relate experimental results to energy metabolism of the intact cell. The cellular P»/O2 based on oxidation of glycogen is increased by the glycolytic (fermentative) substrate-level phosphorylation of 3 P»/Glyc or 0.5 mol P» for each mol O2 consumed in the complete oxidation of a mol glycosyl unit (Glyc). Adding 0.5 to the mitochondrial P»/O2 ratio of 5.4 yields a bioenergetic cell physiological P»/O2 ratio close to 6. Two NADH equivalents are formed during glycolysis and transported from the cytosol into the mitochondrial matrix, either by the malate-aspartate shuttle or by the glycerophosphate shuttle (Figure 2A) resulting in different theoretical yields of ATP generated by mitochondria, the energetic cost of which potentially must be taken into account. Considering also substrate-level phosphorylation in the TCA cycle, this high P»/O2 ratio not only reflects proton translocation and OXPHOS studied in isolation, but integrates mitochondrial physiology with energy transformation in the living cell (Gnaiger 1993a).

Table 7. Conversion of units with preservation of numerical values.

| Name | Frequently used unit | Equivalent unit | Note |
| --- | --- | --- | --- |
| volume-specific flux, JV,O2 | pmol∙s-1∙mL-1 | nmol∙s-1∙L-1 | 1 |
|  | mmol∙s-1∙L-1 | mol∙s-1∙m-3 |  |
| cell-specific flow, IO2/cell | pmol∙s-1∙10-6 cells | amol∙s-1∙cell-1 | 2 |
|  | pmol∙s-1∙10-9 cells | zmol∙s-1∙cell-1 | 3 |
| cell number concentration, CNce | 106 cells∙mL-1 | 109 cells∙L-1 |  |
| mitochondrial protein concentration, CmtE | 0.1 mg∙mL-1 | 0.1 g∙L-1 |  |
| mass-specific flux, JO2/m | pmol∙s-1∙mg-1 | nmol∙s-1∙g-1 | 4 |
| catabolic power, Pk | µW∙10-6 cells | pW∙cell-1 | 1 |
| volume | 1,000 L | m3 (1,000 kg) |  |
|  | L | dm3 (kg) |  |
|  | mL | cm3 (g) |  |
|  | µL | mm3 (mg) |  |
|  | fL | µm3 (pg) | 5 |
| amount of substance concentration | M = mol∙L-1 | mol∙dm-3 |  |

1	pmol: picomole = 10-12 mol	4	nmol: nanomole = 10-9 mol

2	amol: attomole = 10-18 mol	5	fL: femtolitre = 10-15 L

3	zmol: zeptomole = 10-21 mol

4. Conclusions

MitoEAGLE can serve as a gateway to better diagnose mitochondrial respiratory defects linked to genetic variation, age-related health risks, sex-specific mitochondrial performance, lifestyle with its effects on degenerative diseases, and thermal and chemical environment. The present recommendations on coupling control states and rates, linked to the concept of the protonmotive force, are focused on studies with mitochondrial preparations. These will be extended in a series of reports on pathway control of mitochondrial respiration, respiratory states in intact cells, and harmonization of experimental procedures.

OXPHOS analysis is based on the study of mitochondrial preparations complementary to bioenergetic investigations of intact cells and organisms—from animal models to healthy persons or patients. Metabolic fluxes measured in defined coupling and pathway control states provide insights into the meaning of cellular and organismic respiration. An O2 flux balance scheme illustrates the relationships and general definitions (Figures 1 and 2).

Catabolic cell respiration is the process of exergonic and exothermic energy transformation in which scalar redox reactions are coupled to vectorial ion translocation across a semipermeable membrane, which separates the small volume of a bacterial cell or mitochondrion from the larger volume of its surroundings. The electrochemical exergy can be partially conserved in the phosphorylation of ADP to ATP or in ion pumping, or dissipated in an electrochemical short-circuit. Respiration is thus clearly distinguished from fermentation as the counterpart of cellular core energy metabolism. Respiration is separated in mitochondrial preparations from the interactions with the fermentative pathways of the intact cell.

The optimal choice for expressing mitochondrial and cell respiration as O2 flow per biological sample, and normalization for specific tissue-markers (volume, mass, protein) and mitochondrial markers (volume, protein, content, mtDNA, activity of marker enzymes, respiratory reference state) is guided by the scientific question under study. Interpretation of the data depends critically on appropriate normalization.

We recommend for studies with mitochondrial preparations:

- Normalization of respiratory rates should be provided as far as possible:

1. Biophysical normalization: on a per cell basis as O2 flow; this may not be possible when dealing with tissues

2. Cellular normalization: per g protein; per cell- or tissue-mass as mass-specific O2 flux; per cell volume as cell volume-specific flux

3. Mitochondrial normalization: per mitochondrial marker as mt-specific flux.

With information on cell size and the use of multiple normalizations, maximum potential information is available (Renner et al. 2003; Wagner et al. 2011; Gnaiger 2014). Reporting flow in a respiratory chamber [nmol∙s-1] is discouraged, since it restricts the analysis to intra-experimental comparison of relative (qualitative) differences.

- Catabolic mitochondrial respiration is distinguished from residual oxygen consumption. Fluxes in mitochondrial coupling states should be, as far as possible, corrected for residual oxygen consumption.

- Different mechanisms of uncoupling should be distinguished by defined terms. The tightness of coupling relates to these uncoupling mechanisms, whereas the coupling stoichiometry varies as a function the substrate type involved in ET-pathways with either three or two redox proton pumps operating in series. Separation of tightness of coupling from the pathway-dependent coupling stoichiometry is possible only when the substrate type undergoing oxidation remains the same for respiration in LEAK-, OXPHOS-, and ET-states. In studies of the tightness of coupling, therefore, simple substrate­inhibitor combinations should be applied to exlcude a shift in substrate competition which may occur when providing physiological substrate cocktails.

- In studies of isolated mitochondria, the mitochondrial recovery and yield should be reported. Experimental criteria for evaluation of purity versus integrity should be considered. Mitochondrial markers—such as citrate synthase activity as an enzymatic matrix marker—provide a link to the tissue of origin on the basis of calculating the mitochondrial recovery, i.e., the fraction of mitochondrial marker obtained from a unit mass of tissue. Total mitochondrial protein is frequently applied as a mitochondrial marker, which is restricted to isolated mitochondria.

- In studies of permeabilized cells, the viability of the cell culture or cell suspension of origin should be reported. Normalization should be evaluated for total cell count or viable cell count.

- Terms and symbols are summarized in Table 8. Their use will facilitate transdisciplinary communication and support further developments towards a consistent theory of bioenergetics and mitochondrial physiology. Technical terms related to and defined with normal words can be used as index terms in databases, support the creation of ontologies towards semantic information processing (MitoPedia), and help in communicating analytical findings as impactful data-driven stories. ‘Making data available without making it understandable may be worse than not making it available at all’ (National Academies of Sciences, Engineering, and Medicine 2018). Success will depend on taking next steps: (1) exhaustive text-mining considering Omics data and functional data; (2) network analysis of Omics data with bioinformatics tools; (3) cross-validation with distinct bioinformatics approaches; (4) correlation with functional data; (5) guidelines for biological validation of network data. This is a call to carefully contribute to FAIR principles (Findable, Accessible, Interoperable, Reusable) for the sharing of scientific data.

Table 8. Terms, symbols, and units.

Term	Symbol	Unit 	Links and comments

alternative quinol oxidase	AOX		Figure 2B

amount of substance B	nB	[mol]

ATP yield per O2	YP»/O2		P»/O2 ratio measured in any respiratory state

catabolic reaction	k		Figure 1 and 3

catabolic respiration	JkO2	varies	Figure 1 and 3

cell number	Ncell	[x]	Table 5; Ncell = Nvce + Ndce

cell respiration	JrO2	varies	Figure 1

cell viability index	CVI		CVI = Nvce/Ncell = 1- Ndce/Ncell

Complexes I to IV	CI to CIV		respiratory ET Complexes; Figure 2B

concentration of substance B	cB = nB∙V­1; [B]	[mol∙m­3] 	Box 2

dead cell number	Ndce	[x]	Table 5; non-viable cells, loss of plasma membrane barrier function

electron transfer system	ETS		Figure 2B, Figure 5; state

flow, for substance B	IB	[mol∙s­1] 	system-related extensive quantity; Figure 7

flux, for substance B	JB	varies	size-specific quantitiy; Figure 7

inorganic phosphate	Pi		Figure 3

intact cell number, viable cell number	Nvce	[x]	Table 5; viable cells, intact of plasma membrane barrier function

LEAK 	LEAK		Table 1, Figure 5; state

mass of sample X	mX	[kg] 	Table 4

mass of entity X	MX	[kg] 	mass of object X; Table 4

MITOCARTA		       https://www.broadinstitute.org/scientific-community/science/programs/metabolic-disease-program/publications/mitocarta/mitocarta-in-0

MitoPedia		       http://www.bioblast.at/index.php/MitoPedia

mitochondria or mitochondrial	mt		Box 1

mitochondrial DNA	mtDNA		Box 1

mitochondrial concentration	CmtE = mtE∙V-1 	[mtEU∙m­3] 	Table 4

mitochondrial content	mtEX = mtE∙NX-1	[mtEU∙x­1] 	Table 4

mitochondrial elemental unit	mtEU	varies 	Table 4, specific units for mt-marker

mitochondrial inner membrane 	mtIM 		Figure 2; MIM is widely used; the first M is replaced by mt; Box 1

mitochondrial outer membrane 	mtOM 		Figure 2; MOM is widely used; the first M is replaced by mt; Box 1

mitochondrial recovery	YmtE		fraction of mtE recovered in sample from the tissue of origin

mitochondrial yield	YmtE/m		YmtE/m = YmtE ∙ DmtE

negative	neg		Figure 3

number concentration of X	CNX	[x∙m-3] 	Table 4

number of entities X	NX	[x] 	Table 4, Figure 7

number of entity B	NB	[x]	Table 4

oxidative phosphorylation	OXPHOS		Table 1, Figure 5; state

oxygen concentration	cO2 = nO2∙V­1; [O2]	[mol∙m­3] 	Section 3.2

oxygen flux, in reaction r	JrO2	varies	Figure 1

permeabilized cell number	Npce	[x]	Table 5; experimental permeabilization of plasma membrane; Npce = Ncell

phosphorylation of ADP to ATP	P»		Section 2.2

positive	pos		Figure 3

proton in the negative compartment	H+neg		Figure 3

proton in the positive compartment	H+pos		Figure 3

rate of electron transfer in ET state	E		ET-capacity; Table 1

rate of LEAK respiration	L		Table 1

rate of oxidative phosphorylation	P		OXPHOS capacity; Table 1

rate of residual oxygen consumption	Rox		Table 1, Figure 1

residual oxygen consumption	ROX		Table 1; state

respiratory supercomplex	SC InIIInIVn 		Box 1; supramolecular assemblies composed of variable copy numbers (n) of CI, CIII and CIV

specific mitochondrial density	DmtE = mtE∙mX-1 	[mtEU∙kg­1]	Table 4

volume	V	[m-3]	Table 7

weight, dry weight	Wd	[kg]	used as mass of sample X; Figure 7

weight, wet weight	Ww	[kg]	used as mass of sample X; Figure 7

Acknowledgements

We thank M. Beno for management assistance. This publication is based upon work from COST Action CA15203 MitoEAGLE, supported by COST (European Cooperation in Science and Technology), and K-Regio project MitoFit (E.G.).

Competing financial interests: E.G. is founder and CEO of Oroboros Instruments, Innsbruck, Austria.

5. References

Altmann R (1894) Die Elementarorganismen und ihre Beziehungen zu den Zellen. Zweite vermehrte Auflage. Verlag Von Veit & Comp, Leipzig:160 pp.

Beard DA (2005) A biophysical model of the mitochondrial respiratory system and oxidative phosphorylation. PLoS Comput Biol 1(4):e36.

Benda C (1898) Weitere Mitteilungen über die Mitochondria. Verh Dtsch Physiol Ges:376-83.

Birkedal R, Laasmaa M, Vendelin M (2014) The location of energetic compartments affects energetic communication in cardiomyocytes. Front Physiol 5:376.

Breton S, Beaupré HD, Stewart DT, Hoeh WR, Blier PU (2007) The unusual system of doubly uniparental inheritance of mtDNA: isn't one enough? Trends Genet 23:465-74.

Brown GC (1992) Control of respiration and ATP synthesis in mammalian mitochondria and cells. Biochem J 284:1-13.

Calvo SE, Klauser CR, Mootha VK (2016) MitoCarta2.0: an updated inventory of mammalian mitochondrial proteins. Nucleic Acids Research 44:D1251-7.

Calvo SE, Julien O, Clauser KR, Shen H, Kamer KJ, Wells JA, Mootha VK (2017) Comparative analysis of mitochondrial N-termini from mouse, human, and yeast. Mol Cell Proteomics 16:512-23.

Campos JC, Queliconi BB, Bozi LHM, Bechara LRG, Dourado PMM, Andres AM, Jannig PR, Gomes KMS, Zambelli VO, Rocha-Resende C, Guatimosim S, Brum PC, Mochly-Rosen D, Gottlieb RA, Kowaltowski AJ, Ferreira JCB (2017) Exercise reestablishes autophagic flux and mitochondrial quality control in heart failure. Autophagy 13:1304-317.

Canton M, Luvisetto S, Schmehl I, Azzone GF (1995) The nature of mitochondrial respiration and discrimination between membrane and pump properties. Biochem J 310:477-81.

Chance B, Williams GR (1955a) Respiratory enzymes in oxidative phosphorylation. I. Kinetics of oxygen utilization. J Biol Chem 217:383-93.

Chance B, Williams GR (1955b) Respiratory enzymes in oxidative phosphorylation: III. The steady state. J Biol Chem 217:409-27.

Chance B, Williams GR (1955c) Respiratory enzymes in oxidative phosphorylation. IV. The respiratory chain. J Biol Chem 217:429-38.

Chance B, Williams GR (1956) The respiratory chain and oxidative phosphorylation. Adv Enzymol Relat Subj Biochem 17:65-134.

Cobb LJ, Lee C, Xiao J, Yen K, Wong RG, Nakamura HK, Mehta HH, Gao Q, Ashur C, Huffman DM, Wan J, Muzumdar R, Barzilai N, Cohen P (2016) Naturally occurring mitochondrial-derived peptides are age-dependent regulators of apoptosis, insulin sensitivity, and inflammatory markers. Aging (Albany NY) 8:796-809.

Cohen ER, Cvitas T, Frey JG, Holmström B, Kuchitsu K, Marquardt R, Mills I, Pavese F, Quack M, Stohner J, Strauss HL, Takami M, Thor HL (2008) Quantities, units and smbols in physical chemistry, IUPAC Green Book, 3rd Edition, 2nd Printing, IUPAC & RSC Publishing, Cambridge.

Cooper H, Hedges LV, Valentine JC, eds (2009) The handbook of research synthesis and meta-analysis. Russell Sage Foundation.

Coopersmith J (2010) Energy, the subtle concept. The discovery of Feynman’s blocks from Leibnitz to Einstein. Oxford University Press:400 pp.

Cummins J (1998) Mitochondrial DNA in mammalian reproduction. Rev Reprod 3:172-82.

Dai Q, Shah AA, Garde RV, Yonish BA, Zhang L, Medvitz NA, Miller SE, Hansen EL, Dunn CN, Price TM (2013) A truncated progesterone receptor (PR-M) localizes to the mitochondrion and controls cellular respiration. Mol Endocrinol 27:741-53.

Divakaruni AS, Brand MD (2011) The regulation and physiology of mitochondrial proton leak. Physiology (Bethesda) 26:192-205.

Doerrier C, Garcia-Souza LF, Krumschnabel G, Wohlfarter Y, Mészáros AT, Gnaiger E (2018) High-Resolution FluoRespirometry and OXPHOS protocols for human cells, permeabilized fibres from small biopsies of muscle and isolated mitochondria. Methods Mol. Biol. (in press)

Doskey CM, van ‘t Erve TJ, Wagner BA, Buettner GR (2015) Moles of a substance per cell is a highly informative dosing metric in cell culture. PLOS ONE 10:e0132572.

Drahota Z, Milerová M, Stieglerová A, Houstek J, Ostádal B (2004) Developmental changes of cytochrome c oxidase and citrate synthase in rat heart homogenate. Physiol Res 53:119-22.

Duarte FV, Palmeira CM, Rolo AP (2014) The role of microRNAs in mitochondria: small players acting wide. Genes (Basel) 5:865-86.

Ernster L, Schatz G (1981) Mitochondria: a historical review. J Cell Biol 91:227s-55s.

Estabrook RW (1967) Mitochondrial respiratory control and the polarographic measurement of ADP:O ratios. Methods Enzymol 10:41-7.

Faber C, Zhu ZJ, Castellino S, Wagner DS, Brown RH, Peterson RA, Gates L, Barton J, Bickett M, Hagerty L, Kimbrough C, Sola M, Bailey D, Jordan H, Elangbam CS (2014) Cardiolipin profiles as a potential biomarker of mitochondrial health in diet-induced obese mice subjected to exercise, diet-restriction and ephedrine treatment. J Appl Toxicol 34:1122-9.

Fell D (1997) Understanding the control of metabolism. Portland Press.

Garlid KD, Beavis AD, Ratkje SK (1989) On the nature of ion leaks in energy-transducing membranes. Biochim Biophys Acta 976:109-20.

Garlid KD, Semrad C, Zinchenko V. Does redox slip contribute significantly to mitochondrial respiration? In: Schuster S, Rigoulet M, Ouhabi R, Mazat J-P, eds (1993) Modern trends in biothermokinetics. Plenum Press, New York, London:287-93.

Gerö D, Szabo C (2016) Glucocorticoids suppress mitochondrial oxidant production via upregulation of uncoupling protein 2 in hyperglycemic endothelial cells. PLoS One 11:e0154813.

Gnaiger E. Efficiency and power strategies under hypoxia. Is low efficiency at high glycolytic ATP production a paradox? In: Surviving Hypoxia: Mechanisms of Control and Adaptation. Hochachka PW, Lutz PL, Sick T, Rosenthal M, Van den Thillart G, eds (1993a) CRC Press, Boca Raton, Ann Arbor, London, Tokyo:77-109.

Gnaiger E (1993b) Nonequilibrium thermodynamics of energy transformations. Pure Appl Chem 65:1983-2002.

Gnaiger E (2001) Bioenergetics at low oxygen: dependence of respiration and phosphorylation on oxygen and adenosine diphosphate supply. Respir Physiol 128:277-97.

Gnaiger E (2009) Capacity of oxidative phosphorylation in human skeletal muscle. New perspectives of mitochondrial physiology. Int J Biochem Cell Biol 41:1837-45.

Gnaiger E (2014) Mitochondrial pathways and respiratory control. An introduction to OXPHOS analysis. 4th ed. Mitochondr Physiol Network 19.12. Oroboros MiPNet Publications, Innsbruck:80 pp.

Gnaiger E, Méndez G, Hand SC (2000) High phosphorylation efficiency and depression of uncoupled respiration in mitochondria under hypoxia. Proc Natl Acad Sci USA 97:11080-5.

Greggio C, Jha P, Kulkarni SS, Lagarrigue S, Broskey NT, Boutant M, Wang X, Conde Alonso S, Ofori E, Auwerx J, Cantó C, Amati F (2017) Enhanced respiratory chain supercomplex formation in response to exercise in human skeletal muscle. Cell Metab 25:301-11.

Hinkle PC (2005) P/O ratios of mitochondrial oxidative phosphorylation. Biochim Biophys Acta 1706:1-11.

Hofstadter DR (1979) Gödel, Escher, Bach: An eternal golden braid. A metaphorical fugue on minds and machines in the spirit of Lewis Carroll. Harvester Press:499 pp.

Illaste A, Laasmaa M, Peterson P, Vendelin M (2012) Analysis of molecular movement reveals latticelike obstructions to diffusion in heart muscle cells. Biophys J 102:739-48.

Jasienski M, Bazzaz FA (1999) The fallacy of ratios and the testability of models in biology. Oikos 84:321-26.

Jepihhina N, Beraud N, Sepp M, Birkedal R, Vendelin M (2011) Permeabilized rat cardiomyocyte response demonstrates intracellular origin of diffusion obstacles. Biophys J 101:2112-21.

Klepinin A, Ounpuu L, Guzun R, Chekulayev V, Timohhina N, Tepp K, Shevchuk I, Schlattner U, Kaambre T (2016) Simple oxygraphic analysis for the presence of adenylate kinase 1 and 2 in normal and tumor cells. J Bioenerg Biomembr 48:531-48.

Klingenberg M (2017) UCP1 - A sophisticated energy valve. Biochimie 134:19-27.

Koit A, Shevchuk I, Ounpuu L, Klepinin A, Chekulayev V, Timohhina N, Tepp K, Puurand M,Truu L, Heck K, Valvere V, Guzun R, Kaambre T (2017) Mitochondrial respiration in human colorectal and breast cancer clinical material is regulated differently. Oxid Med Cell Longev 1372640.

Komlódi T, Tretter L (2017) Methylene blue stimulates substrate-level phosphorylation catalysed by succinyl-CoA ligase in the citric acid cycle. Neuropharmacology 123:287-98.

Lane N (2005) Power, sex, suicide: mitochondria and the meaning of life. Oxford University Press:354 pp.

Larsen S, Nielsen J, Neigaard Nielsen C, Nielsen LB, Wibrand F, Stride N, Schroder HD, Boushel RC, Helge JW, Dela F, Hey-Mogensen M (2012) Biomarkers of mitochondrial content in skeletal muscle of healthy young human subjects. J Physiol 590:3349-60.

Lee C, Zeng J, Drew BG, Sallam T, Martin-Montalvo A, Wan J, Kim SJ, Mehta H, Hevener AL, de Cabo R, Cohen P (2015) The mitochondrial-derived peptide MOTS-c promotes metabolic homeostasis and reduces obesity and insulin resistance. Cell Metab 21:443-54.

Lee SR, Kim HK, Song IS, Youm J, Dizon LA, Jeong SH, Ko TH, Heo HJ, Ko KS, Rhee BD, Kim N, Han J (2013) Glucocorticoids and their receptors: insights into specific roles in mitochondria. Prog Biophys Mol Biol 112:44-54.

Leek BT, Mudaliar SR, Henry R, Mathieu-Costello O, Richardson RS (2001) Effect of acute exercise on citrate synthase activity in untrained and trained human skeletal muscle. Am J Physiol Regul Integr Comp Physiol 280:R441-7.

Lemieux H, Blier PU, Gnaiger E (2017) Remodeling pathway control of mitochondrial respiratory capacity by temperature in mouse heart: electron flow through the Q-junction in permeabilized fibers. Sci Rep 7:2840.

Lenaz G, Tioli G, Falasca AI, Genova ML (2017) Respiratory supercomplexes in mitochondria. In: Mechanisms of primary energy trasduction in biology. M Wikstrom (ed) Royal Society of Chemistry Publishing, London, UK:296-337.

Margulis L (1970) Origin of eukaryotic cells. New Haven: Yale University Press.

Meinild Lundby AK, Jacobs RA, Gehrig S, de Leur J, Hauser M, Bonne TC, Flück D, Dandanell S, Kirk N, Kaech A, Ziegler U, Larsen S, Lundby C (2018) Exercise training increases skeletal muscle mitochondrial volume density by enlargement of existing mitochondria and not de novo biogenesis. Acta Physiol 222, e12905.

Menshikova EV, Ritov VB, Fairfull L, Ferrell RE, Kelley DE, Goodpaster BH (2006) Effects of exercise on mitochondrial content and function in aging human skeletal muscle. J Gerontol A Biol Sci Med Sci 61:534-40.

Menshikova EV, Ritov VB, Ferrell RE, Azuma K, Goodpaster BH, Kelley DE (2007) Characteristics of skeletal muscle mitochondrial biogenesis induced by moderate-intensity exercise and weight loss in obesity. J Appl Physiol (1985) 103:21-7.

Menshikova EV, Ritov VB, Toledo FG, Ferrell RE, Goodpaster BH, Kelley DE (2005) Effects of weight loss and physical activity on skeletal muscle mitochondrial function in obesity. Am J Physiol Endocrinol Metab 288:E818-25.

Miller GA (1991) The science of words. Scientific American Library New York:276 pp.

Mitchell P (1961) Coupling of phosphorylation to electron and hydrogen transfer by a chemi-osmotic type of mechanism. Nature 191:144-8.

Mitchell P (2011) Chemiosmotic coupling in oxidative and photosynthetic phosphorylation. Biochim Biophys Acta Bioenergetics 1807:1507-38.

Mogensen M, Sahlin K, Fernström M, Glintborg D, Vind BF, Beck-Nielsen H, Højlund K (2007) Mitochondrial respiration is decreased in skeletal muscle of patients with type 2 diabetes. Diabetes 56:1592-9.

Mohr PJ, Phillips WD (2015) Dimensionless units in the SI. Metrologia 52:40-7.

Moreno M, Giacco A, Di Munno C, Goglia F (2017) Direct and rapid effects of 3,5-diiodo-L-thyronine (T2). Mol Cell Endocrinol 7207:30092-8.

Morrow RM, Picard M, Derbeneva O, Leipzig J, McManus MJ, Gouspillou G, Barbat-Artigas S, Dos Santos C, Hepple RT, Murdock DG, Wallace DC (2017) Mitochondrial energy deficiency leads to hyperproliferation of skeletal muscle mitochondria and enhanced insulin sensitivity. Proc Natl Acad Sci U S A 114:2705-10.

Murley A, Nunnari J (2016) The emerging network of mitochondria-organelle contacts. Mol Cell 61:648-53.

National Academies of Sciences, Engineering, and Medicine (2018) International coordination for science data infrastructure: Proceedings of a workshop—in brief. Washington, DC: The National Academies Press. doi: https://doi.org/10.17226/25015.

Palmfeldt J, Bross P (2017) Proteomics of human mitochondria. Mitochondrion 33:2-14.

Paradies G, Paradies V, De Benedictis V, Ruggiero FM, Petrosillo G (2014) Functional role of cardiolipin in mitochondrial bioenergetics. Biochim Biophys Acta 1837:408-17.

Pesta D, Gnaiger E (2012) High-Resolution Respirometry. OXPHOS protocols for human cells and permeabilized fibres from small biopsies of human muscle. Methods Mol Biol 810:25-58.

Pesta D, Hoppel F, Macek C, Messner H, Faulhaber M, Kobel C, Parson W, Burtscher M, Schocke M, Gnaiger E (2011) Similar qualitative and quantitative changes of mitochondrial respiration following strength and endurance training in normoxia and hypoxia in sedentary humans. Am J Physiol Regul Integr Comp Physiol 301:R1078–87.

Price TM, Dai Q (2015) The role of a mitochondrial progesterone receptor (PR-M) in progesterone action. Semin Reprod Med 33:185-94.

Puchowicz MA, Varnes ME, Cohen BH, Friedman NR, Kerr DS, Hoppel CL (2004) Oxidative phosphorylation analysis: assessing the integrated functional activity of human skeletal muscle mitochondria – case studies. Mitochondrion 4:377-85. Puntschart A, Claassen H, Jostarndt K, Hoppeler H, Billeter R (1995) mRNAs of enzymes involved in energy metabolism and mtDNA are increased in endurance-trained athletes. Am J Physiol 269:C619-25.

Quiros PM, Mottis A, Auwerx J (2016) Mitonuclear communication in homeostasis and stress. Nat Rev Mol Cell Biol 17:213-26.

Rackham O, Mercer TR, Filipovska A (2012) The human mitochondrial transcriptome and the RNA-binding proteins that regulate its expression. WIREs RNA 3:675–95.

Reichmann H, Hoppeler H, Mathieu-Costello O, von Bergen F, Pette D (1985) Biochemical and ultrastructural changes of skeletal muscle mitochondria after chronic electrical stimulation in rabbits. Pflugers Arch 404:1-9.

Renner K, Amberger A, Konwalinka G, Gnaiger E (2003) Changes of mitochondrial respiration, mitochondrial content and cell size after induction of apoptosis in leukemia cells. Biochim Biophys Acta 1642:115-23.

Rich P (2003) Chemiosmotic coupling: The cost of living. Nature 421:583.

Rostovtseva TK, Sheldon KL, Hassanzadeh E, Monge C, Saks V, Bezrukov SM, Sackett DL (2008) Tubulin binding blocks mitochondrial voltage-dependent anion channel and regulates respiration. Proc Natl Acad Sci USA 105:18746-51.

Rustin P, Parfait B, Chretien D, Bourgeron T, Djouadi F, Bastin J, Rötig A, Munnich A (1996) Fluxes of nicotinamide adenine dinucleotides through mitochondrial membranes in human cultured cells. J Biol Chem 271:14785-90.

Saks VA, Veksler VI, Kuznetsov AV, Kay L, Sikk P, Tiivel T, Tranqui L, Olivares J, Winkler K, Wiedemann F, Kunz WS (1998) Permeabilised cell and skinned fiber techniques in studies of mitochondrial function in vivo. Mol Cell Biochem 184:81-100.

Salabei JK, Gibb AA, Hill BG (2014) Comprehensive measurement of respiratory activity in permeabilized cells using extracellular flux analysis. Nat Protoc 9:421-38.

Sazanov LA (2015) A giant molecular proton pump: structure and mechanism of respiratory complex I. Nat Rev Mol Cell Biol 16:375-88.

Schneider TD (2006) Claude Shannon: biologist. The founder of information theory used biology to formulate the channel capacity. IEEE Eng Med Biol Mag 25:30-3.

Schönfeld P, Dymkowska D, Wojtczak L (2009) Acyl-CoA-induced generation of reactive oxygen species in mitochondrial preparations is due to the presence of peroxisomes. Free Radic Biol Med 47:503-9.

Schultz J, Wiesner RJ (2000) Proliferation of mitochondria in chronically stimulated rabbit skeletal muscle--transcription of mitochondrial genes and copy number of mitochondrial DNA. J Bioenerg Biomembr 32:627-34.

Speijer D (2016) Being right on Q: shaping eukaryotic evolution. Biochem J 473:4103-27.

Sugiura A, Mattie S, Prudent J, McBride HM (2017) Newly born peroxisomes are a hybrid of mitochondrial and ER-derived pre-peroxisomes. Nature 542:251-4.

Simson P, Jepihhina N, Laasmaa M, Peterson P, Birkedal R, Vendelin M (2016) Restricted ADP movement in cardiomyocytes: Cytosolic diffusion obstacles are complemented with a small number of open mitochondrial voltage-dependent anion channels. J Mol Cell Cardiol 97:197-203.

Stucki JW, Ineichen EA (1974) Energy dissipation by calcium recycling and the efficiency of calcium transport in rat-liver mitochondria. Eur J Biochem 48:365-75.

Tonkonogi M, Harris B, Sahlin K (1997) Increased activity of citrate synthase in human skeletal muscle after a single bout of prolonged exercise. Acta Physiol Scand 161:435-6.

Torralba D, Baixauli F, Sánchez-Madrid F (2016) Mitochondria know no boundaries: mechanisms and functions of intercellular mitochondrial transfer. Front Cell Dev Biol 4:107. eCollection 2016.

Vamecq J, Schepers L, Parmentier G, Mannaerts GP (1987) Inhibition of peroxisomal fatty acyl-CoA oxidase by antimycin A. Biochem J 248:603-7.

Waczulikova I, Habodaszova D, Cagalinec M, Ferko M, Ulicna O, Mateasik A, Sikurova L, Ziegelhöffer A (2007) Mitochondrial membrane fluidity, potential, and calcium transients in the myocardium from acute diabetic rats. Can J Physiol Pharmacol 85:372-81.

Wagner BA, Venkataraman S, Buettner GR (2011) The rate of oxygen utilization by cells.  Free Radic Biol Med 51:700-712.

Wang H, Hiatt WR, Barstow TJ, Brass EP (1999) Relationships between muscle mitochondrial DNA content, mitochondrial enzyme activity and oxidative capacity in man: alterations with disease. Eur J Appl Physiol Occup Physiol 80:22-7.

Watt IN, Montgomery MG, Runswick MJ, Leslie AG, Walker JE (2010) Bioenergetic cost of making an adenosine triphosphate molecule in animal mitochondria. Proc Natl Acad Sci U S A 107:16823-7.

Weibel ER, Hoppeler H (2005) Exercise-induced maximal metabolic rate scales with muscle aerobic capacity. J Exp Biol 208:1635–44.

White DJ, Wolff JN, Pierson M, Gemmell NJ (2008) Revealing the hidden complexities of mtDNA inheritance. Mol Ecol 17:4925–42.

Wikström M, Hummer G (2012) Stoichiometry of proton translocation by respiratory complex I and its mechanistic implications. Proc Natl Acad Sci U S A 109:4431-6.

Williams EG, Wu Y, Jha P, Dubuis S, Blattmann P, Argmann CA, Houten SM, Amariuta T, Wolski W, Zamboni N, Aebersold R, Auwerx J (2016) Systems proteomics of liver mitochondria function. Science 352 (6291):aad0189

Willis WT, Jackman MR, Messer JI, Kuzmiak-Glancy S, Glancy B (2016) A simple hydraulic analog model of oxidative phosphorylation. Med Sci Sports Exerc 48:990-1000.