## O2&Amp#yeast
|  | Exp. | Sample | Amount per chamber (Mill cells/chamber) | Condition | Medium | Info | DatLab 7.1 | CCP Mark Reference: |  | 0BL | 1ce | 2ce | 3ce | 4ce | 5ce | 6ce
0 |  | yeast | yeast |  |  | MiR05Cr-Kit |  | =C2 |  | Total volume added (µl) |  | 0 | 0 | 0 | 0 | 0 | 0
|  | Polarization V [mV] | Chamber volume (ml) | Concentration/ml (Mill cells/ml) | [5 empty] | Edit the volume added in each step (µl) in the yellow boxes
2
O2k Core | [9 empty] | Unit | 0BL | 1ce | 2ce | 3ce | 4ce | 5ce | 6ce
[9 empty] | 8A: O2 concentration | µM
[8 empty] | X | 8A: O2 flux per V | pmol/(s*ml)
O2 Flux analysis
ROUTINE, R | ROUTINE | [7 empty] | O2 flow per cells | pmol/(s*Mill) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
OXPHOS, P | OXPHOS state
LEAK, L | LEAK state | [10 empty] | 1ce | 2ce | 3ce | 4ce | 5ce | 6ce
ETS, E | Electron transport system (ETS; uncoupled)
ROX | Residual oxygen consumption (rotenone, antimycin A)
[9 empty] | Sample concentration | Mill cells/ml |  | 0 | 0 | 0 | 0 | 0 | 0
O2k Amp | [7 empty] | Amp summary
H2O2 production | [11 empty] | 1ce | 2ce | 3ce | 4ce | 5ce | 6ce
Amplex UltraRed | [8 empty] | H2O2 production flux corrected for sensitivity decline, background and O2 | pmol/(s*ml) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[9 empty] | H2O2 production flux corrected for sensitivity decline, background and O2 | pmol/(s*Mill) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[9 empty] | H2O2 production/JO2 | no ROX-corr. |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Amp analysis
Sensitivity [V/mM]
[11 empty] | 0BL | 1 (after sample) | 2 | 3 | 4 | 7 | 8
[8 empty] | Paste the sensitivity from the DatLab (from each H2O2 calibration) in the green boxes (O to W boxes) | [9 empty] | Enter the sensitivitiy into the green boxes
[11 empty] | Calculated sensitivity | [6 empty] | The missing sensitivity values will be calculated
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
Correction factor for calculated sensitivity
[11 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[11 empty] | 0BL | 1ce | 2ce | 3ce | 4ce | 5ce | 6ce
[9 empty] | 8A: Amp | µM
[8 empty] | X | 8A: Amp slope | pmol/(s*ml)
[11 empty] | 0BL | 1ce | 2ce | 3ce | 4ce | 5ce | 6ce
[9 empty] | H2O2 production corrected for sensitivity decline | pmol/(s*ml) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[9 empty] | Background correction factor |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[9 empty] | O2 correction factor |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[9 empty] | H2O2 production flux corrected for sensitivity decline, background and O2 | pmol/(s*ml) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[12 empty] | 1ce | 2ce | 3ce | 4ce | 5ce | 6ce
[9 empty] | H2O2 production flux corrected for sensitivity decline, background and O2 | pmol/(s*Mill) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Note on C2: Enter information about your experiment.
Note on D2: Enter information about your sample.
Note on E2: Enter the concentration into the O2k chamber (Mill cells per chamber).
Note on F2: Enter information about the experimental conditions of your sample.
Note on G2: Enter the medium used in your experiment.
Note on N3: For dilution corrections, please introduce the volume added (µl) in each step (including AmR, HRP, SOD and H2O2 titrations).
Note on C4: Add information about the polarization voltage used (Amp).
Note on L4: Paste only O2 values (Flux per V) from DatLab. Press [Ctrl+V] to paste" → press [Ctrl+V] to paste.
Note on A6: Paste DatLab graph here, reduce to width 22 cm (8 inches).
Note on M27: Baseline: fluorescence in the absence of sample.
Note on A28: Paste DatLab graph (Amp) here, reduce to width 22 cm (8 inches).
Note on M28: Baseline: fluorescence in the absence of sample.
Note on L39: Paste Amp slope from the DatLab (calibration 1: before sample) → press [Ctrl+V] to paste.
Note on M53: Baseline: fluorescence in the absence of sample.
Note on M56: Baseline: fluorescence in the absence of sample.